# Assessment Requirements for UEERE0006 Conduct periodic maintenance of remote area power supply battery banks

Release: 2

Assessment Requirements for UEERE0006 Conduct periodic maintenance of remote area power supply battery banks

# Modification History

Release 2. This minor update is the second release of this unit of competency in the UEE Electrotechnology Training Package. Typographic error in prerequisite option requirements fixed.

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

measuring and recording specific gravity of electrolyte measuring and recording cell voltages visually inspecting batteries for low electrolyte levels, electrolyte leakage, and corroded terminals and connections topping up low electrolyte levels identifying electrolyte leaks cleaning corroded terminals and connections and treating with an anticorrosive reporting all maintenance activities dealing with unplanned events applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures and practices, including the use of risk control measures checking isolation of circuits/machines/systems coordinating work with relevant person/s and the local community determining live testing/measurement requirements identifying and accessing materials, tools, equipment and testing devices maintaining remote area power supply (RAPS) battery banks, including: conducting quality checks.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

RAPS systems battery bank maintenance techniques, including: basic battery maintenance encompassing: scope of regular testing, checking and corrective actions measurement of specific gravity and voltages of battery cells checking and topping up electrolyte levels checking for acid leakage, cracks in battery casing, corrosion of battery terminals and connections cleaning of terminal connections and treating with an anticorrosive battery bank performance measurement methods for identification of battery bank faults relevant battery manufacturer specifications relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation, policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practice in relation to conducting periodic maintenance of RAPS battery banks applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6