# Assessment Requirements for UEERE0007 Conduct periodic maintenance of remote area power supply generator sets

Release: 2

Assessment Requirements for UEERE0007 Conduct periodic maintenance of remote area power supply generator sets

# Modification History

Release 2. This minor update is the second release of this unit of competency in the UEE Electrotechnology Training Package. Typographic error in prerequisite option requirements fixed.

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least one occasion and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures and practices, including the use of risk control measures coordinating work with relevant personnel and the local community determining live electrical work testing/measurement requirements checking isolation of circuits/machines/systems identifying and accessing materials, tools, equipment and testing devices maintaining remote area power supply (RAPS) generator sets measuring and recording generator no-load and load voltages measuring and recording generator output for three load conditions checking drive engine coolant and oil level visually inspecting drive engine for coolant and oil leaks checking condition of drive engine oil, oil filter and air filter identifying need to change drive engine oil, oil filter and air filter changing drive engine oil, oil filter and air filter topping up low coolant and oil levels identifying the cause of any coolant and oil leaks reporting all maintenance activities dealing with unplanned events.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

RAPS system generator sets maintenance techniques, including: basic generator set maintenance encompassing: checking of radiator and oil level periodic oil change periodic air, oil and fuel filter change maintaining logbooks for maintenance regime generator set performance measurement methods for identification of generator set faults maintenance reporting requirements relevant generator set manufacturer specifications relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation, policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practice in relation to conducting periodic maintenance of RAPS generator sets applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6