# UEERE0010 Design energy management controls for electrical installations in buildings

Release: 1

UEERE0010 Design energy management controls for electrical installations in buildings

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to design energy management controls for electrical installations in new buildings/structures. It includes designing and developing energy management control methods to reduce energy use in new buildings/structures, and documenting strategies to effectively reduce energy use in the completed installation. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERE0013 Develop strategies to address environmental and sustainability issues in the energy sector

# Competency Field

Renewable Energy

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Identify energy management techniques for electrical installations in buildings | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | Hazards are identified, WHS/OHS risks assessed, and control measures and workplace procedures are implemented in preparation for work |
|  |  | 1.3 | Scope of the energy management electrical design is determined from specifications of building and its services, plant and machinery and in consultation with relevant person/s |
|  |  | 1.4 | Advice is sought from allied trade areas and component suppliers on required energy usage and system design in accordance with manufacturer specifications on energy usage for electrical control system |
|  |  | 1.5 | Advice is sought from work supervisor to ensure work is coordinated effectively with relevant person/s |
|  |  | 1.6 | Tools, testing devices and materials needed to carry out work are obtained and checked for correct operation and safety |
| 2 | Design energy management controls for electrical installations | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out work are followed |
|  |  | 2.2 | Inspection, tests and measurements are carried out in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Energy use of building services, plant and machinery is obtained and applied to the energy management design control process |
|  |  | 2.4 | Energy evaluation tests are set up in accordance with inspection and test methods and workplace procedures |
|  |  | 2.5 | Strategies to reduce electrical system energy use without compromising occupancy standards are developed in accordance with energy management techniques and evaluation test results |
|  |  | 2.6 | Unexpected situations are dealt with safely and effectively in accordance with workplace procedures and approval relevant person |
|  |  | 2.7 | Design and electrical installation evaluation is carried out without unnecessary damage to systems circuits, the surrounding environment or services using sustainable energy practices |
| 3 | Document energy management strategies to effectively reduce energy use in building | 3.1 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 3.2 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.3 | Results of energy management design controls, recommended electrical installation strategies and their criterion for energy reduction are documented in accordance with workplace procedures |
|  |  | 3.4 | Plans, wiring diagrams and specifications are completed and forwarded to relevant person/s |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Designing energy management controls for electrical installations in buildings must include at least the following: | two building types |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEK146A Design energy management controls for electrical installations in buildings.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6