# Assessment Requirements for UEERE0017 Maintain and repair facilities associated with remote area essential service operations

Release: 2

Assessment Requirements for UEERE0017 Maintain and repair facilities associated with remote area essential service operations

# Modification History

Release 2. This minor update is the second release of this unit of competency in the UEE Electrotechnology Training Package. Typographic error in prerequisite option requirements fixed.

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two different remote area essential service operations and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures and practices, including the use of risk control measures checking isolation of circuits/machines/systems completing maintenance and repairs completing relevant documentation/reporting conducting quality checks coordinating work with relevant person/s dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment determining scope of work from documentation and/or relevant person/s identifying and accessing materials, tools, equipment and testing devices identifying deterioration and damage to facilities identifying maintenance issues beyond the scope of work and notifying relevant person/s maintaining and repairing remote area essential service operations facilities preparing for maintenance and repair work.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

maintenance of remote area essential services facilities, including: repair and maintenance of: fences and gates windows function/s of relevant electrical components basic mathematical operations electrical safety procedures essential services facilities - lighting essential services facilities - safety and security and emergency checks firefighting equipment and operation generation and distribution of electricity identification and reporting of faulty electrical components maintenance painting relevant manufacturer specifications relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to maintaining and repairing facilities associated with remote area essential service operations applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6