# Assessment Requirements for UEERE0018 Maintain and repair remote area power generation facilities

Release: 1

Assessment Requirements for UEERE0018 Maintain and repair remote area power generation facilities

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

understanding the location and nature of the work required applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures and practices, including the use of risk control measures determining scope of work from documentation and/or relevant person/s identifying and accessing materials, tools, equipment and testing devices coordinating work with relevant person/s checking isolation of circuits/machines/systems correctly inspecting, repairing, replacing and adjusting items listed in the maintenance schedule maintaining and repairing remote area power generation facilities servicing batteries and battery packs in a community power station cleaning fluid spills appropriately removing and disposing of consumable following environmentally safe procedures conducting quality checks dealing with unplanned events applying environmentally safe work practices completing relevant documentation/reporting.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

remote area essential services power plant, including: minor service and maintenance procedures of diesel-powered generation equipment in accordance with a prepared schedule encompassing: types and grades of inspections, repairs, replacement and/or adjustments under a maintenance schedule: replacement items/materials, including engine oil, oil filters, fuel filters, engine coolant system filters, air cleaners and fan belts inspection and repair items, including leakages from fuel system, coolant system and lubricating oil system cleaning of fluid spills environmentally safe procedures for removal and disposal of consumables servicing batteries and battery packs in a community power station in accordance with the prepared maintenance schedule encompassing: hazards associated with batteries types of batteries and their application in a community power station (starting battery set and switchboard (nicad) batteries) battery maintenance techniques schedule regular servicing and maintenance encompassing: engine oil and filter changes fuel filters coolant filters water trap devices drive belt (condition/adjustment) valve adjustments (if applicable) major and minor mechanical servicing by outside agents air cleaner (both dry paper and oil bath types) relevant manufacturer specifications relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to maintaining and repairing facilities associated with remote area essential service operations applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6