# Assessment Requirements for UEERE0026 Conduct checks in the demand side use of remote area power supplies (RAPS)

Release: 1

Assessment Requirements for UEERE0026 Conduct checks in the demand side use of remote area power supplies (RAPS)

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least one occasion and include:

retrieving of performance data identifying demand use issues reporting all check activities applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures and practices, including the use of risk control measures checking isolation of circuits/machines/systems completing remote area power supply (RAPS) use reporting conducting checks of use of RAPS coordinating work with relevant personnel and the local community dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment determining live electrical work testing/measurement requirements identifying and accessing materials, tools, equipment and testing devices.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

RAPS system use auditing techniques, including: general safety demand side use of power systems encompassing: demand exceeds supply size or capacity of the system energy needs of the end users energy use awareness of the end users data logging chips demand versus supply encompassing: selecting appliances using appliances using lights, hot water and freezers energy efficient items compact fluorescent lamp (CFL) globes water saver shower heads weather stripping appropriate use of RAPS system components - overloading system components, using generator supply for heavy loads reporting relevant manufacturer specifications relevant job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to conducting checks in the demand side use of RAPS applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6