# UEERE0028 Design hybrid renewable power systems

Release: 1

UEERE0028 Design hybrid renewable power systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to design a hybrid renewable power system and its installation. It includes determining and developing hybrid power systems design, following design briefs, documenting design calculations and criteria, and obtaining approval for hybrid renewable power system design. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERE0046 Solve problems in stand-alone renewable energy systems

# Competency Field

Renewable Energy

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to design hybrid renewable power system | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | Scope of the system is determined from design brief |
|  |  | 1.3 | Safety and other regulatory requirements to which the renewable power system installation must comply are identified and applied |
|  |  | 1.4 | Design development work is planned to meet scheduled timelines in consultation with relevant person/s involved in the hybrid power system installation or associated work |
| 2 | Develop hybrid renewable power system design | 2.1 | Hybrid renewable power system performance standards and compliance methods are applied to the design |
|  |  | 2.2 | Alternative hybrid renewable power system designs are considered in accordance with the design brief |
|  |  | 2.3 | Safety, functionality and budgetary considerations are incorporated in the hybrid renewable power system design |
|  |  | 2.4 | Hybrid renewable power system design is drafted and checked for compliance with the design brief and regulatory requirements |
|  |  | 2.5 | Hybrid renewable power system design is documented for submission to relevant person/s for acceptance and approval |
|  |  | 2.6 | Unplanned situations are dealt with safely and effectively in accordance with workplace procedures |
| 3 | Obtain design approval for hybrid renewable power system | 3.1 | Hybrid renewable power system design is presented for approval and any issues clarified with client representative and/or relevant person/s |
|  |  | 3.2 | Requests for alterations to the design are negotiated with relevant person/s within the constraints of workplace policies |
|  |  | 3.3 | Final design is documented and approval obtained from relevant person/s |
|  |  | 3.4 | Quality of work is monitored in accordance with relevant performance agreement and/or workplace procedures or industry standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Designing hybrid renewable power systems must include at least the following: | two different hybrid renewable power system designs using different technologies |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEK133A Design hybrid renewable power systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6