# UEERE0029 Design micro-hydro systems rated to 6.4 kW

Release: 1

UEERE0029 Design micro-hydro systems rated to 6.4 kW

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to design micro-hydro systems rated to 6.4 kilowatt (kW) and its installation. It includes determining and developing micro-hydro system design, following design briefs, documenting design calculations and criteria, and obtaining design approval for micro-hydro system. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERE0045 Solve basic problems in micro-hydro systems

# Competency Field

Renewable Energy

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to design micro-hydro system | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | Scope of the micro-hydro system electrical installation is determined from design brief |
|  |  | 1.3 | Safety and regulatory requirements to which the electrical installation must comply are identified, obtained and applied |
|  |  | 1.4 | Design development work is planned to meet scheduled timelines in consultation with relevant person/s involved in the micro-hydro system installation or associated work |
| 2 | Develop micro-hydro system design | 2.1 | Micro-hydro system performance standards and compliance methods are applied to the design |
|  |  | 2.2 | Alternative micro-hybrid power system designs are considered in accordance with the design brief |
|  |  | 2.3 | Safety, functionality and budgetary considerations are incorporated in the micro-hydro system design |
|  |  | 2.4 | Micro-hydro system design is drafted and checked for compliance with the design brief and regulatory requirements |
|  |  | 2.5 | Micro-hydro system design is documented for submission to relevant person/s for acceptance and approval |
|  |  | 2.6 | Unplanned situations are dealt with safely and effectively in accordance with workplace procedures |
| 3 | Obtain design approval for micro-hydro system | 3.1 | Micro-hydro system design is presented for approval and any issues clarified with client representative and/or relevant person/s |
|  |  | 3.2 | Requests for alterations to the design are negotiated with relevant person/s within the constraints of workplace policies |
|  |  | 3.3 | Final design is documented and approval obtained from relevant person/s |
|  |  | 3.4 | Quality of work is monitored in accordance with relevant performance agreement and/or workplace procedures or industry standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Designing micro-hydro systems rated to 6.4 kW must include at least the following: | two micro-hydro system designs each using different technologies |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEK138A Design micro-hydro systems rated to 6.4 kW.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6