# UEERE0030 Design renewable energy (RE) heating systems

Release: 1

UEERE0030 Design renewable energy (RE) heating systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to design a renewable energy (RE) heating system and its installation. It includes determining and developing RE heating systems design, following design brief, documenting design calculations and criteria and obtaining approval for system design. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERE0046 Solve problems in stand-alone renewable energy systems

# Competency Field

Renewable Energy

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to design RE heating system | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and workplace procedures for a given work area are identified, obtained and applied |
|  |  | 1.2 | Scope of the electrical installation for RE heating system is determined from design brief |
|  |  | 1.3 | Safety and other regulatory requirements to which the electrical installation must comply are determined and applied |
|  |  | 1.4 | Design development work is planned to meet scheduled timelines in consultation with relevant person/s involved in the RE heating system installation or associated work |
| 2 | Develop RE heating system design | 2.1 | RE heating system performance standards and compliance methods are applied to the design |
|  |  | 2.2 | Alternative heating system design/s is considered in accordance with the design brief |
|  |  | 2.3 | Safety, functionality and budgetary considerations are incorporated in the RE heating system design |
|  |  | 2.4 | RE heating system design is drafted and checked for compliance with the design brief and regulatory requirements |
|  |  | 2.5 | RE heating system design is documented for submission to relevant person/s for acceptance and approval |
|  |  | 2.6 | Unplanned situations are dealt with safely and effectively in accordance with workplace procedures |
| 3 | Obtain design approval for RE heating system | 3.1 | RE heating system design is presented and any issues clarified to client representative and/or relevant person/s |
|  |  | 3.2 | Requests for alterations to the design are negotiated with relevant person/s within the constraints of workplace policies |
|  |  | 3.3 | Final design is documented and approval obtained from relevant person/s |
|  |  | 3.4 | Quality of work is monitored in accordance with relevant performance agreement and/or workplace procedures or industry standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEK129A Design renewable energy (RE) heating systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6