# UEERE0035 Install ELV stand-alone photovoltaic power systems

Release: 1

UEERE0035 Install ELV stand-alone photovoltaic power systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to install extra-low voltage (ELV) stand-alone photovoltaic (PV) power systems. It includes preparing to install ELV stand-alone PV power apparatus and systems, installing ELV stand-alone PV power apparatus and system, completing installation and reporting installation activities. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERE0022 Solve basic problems in photovoltaic energy apparatus and systems

# Competency Field

Renewable Energy

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to install ELV stand-alone PV power apparatus and systems | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and procedures for relevant work area are identified and applied in accordance with workplace procedures |
|  |  | 1.2 | WHS/OHS hazards are identified, risks assessed, reported to relevant person/s and workplace procedures for risk control measures applied in preparation for work |
|  |  | 1.3 | System installation is planned in consultation with others impacted by the work and sequenced appropriately |
|  |  | 1.4 | Nature and location of the work are determined from documentation or relevant person/s to determine the scope of work |
|  |  | 1.5 | Sitting limitations and customer system requirements are identified through consultation with relevant person/s |
|  |  | 1.6 | Energy demand is assessed and recommendations made to the customer for energy efficiency improvements, as necessary |
|  |  | 1.7 | Suitable system components are specified and selected in accordance with workplace procedures |
|  |  | 1.8 | Location of system components is planned within the constraints of the building structure and regulations |
|  |  | 1.9 | Instructions for coordinating work with others is obtained from relevant person/s and applied |
|  |  | 1.10 | Materials and components required are obtained, pre-assembled, where necessary, and checked against job requirements in accordance with workplace procedures |
|  |  | 1.11 | Materials and components are prepared for transport to the site and transport is arranged in accordance with workplace procedures |
|  |  | 1.12 | Tools, equipment and testing devices required are obtained in accordance with workplace procedures and checked for correct operation and safety |
|  |  | 1.13 | Preparatory work is checked to ensure no unnecessary damage has occurred and complies with requirements |
| 2 | Install ELV stand-alone PV power apparatus and systems | 2.1 | Equipment is transported safely to site in accordance with workplace procedures |
|  |  | 2.2 | Need to test or measure live electrical work is determined in accordance with WHS/OHS requirements and conducted in accordance with workplace procedures |
|  |  | 2.3 | Circuits/machines/plant are isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.4 | System components are installed in compliance with technical industry standards, job specifications and requirements, and with sufficient access to enable terminations, adjustment and maintenance |
|  |  | 2.5 | Wiring is terminated at components and associated equipment in accordance with manufacturer specifications and functional and regulatory requirements |
|  |  | 2.6 | Unplanned situations are discussed with relevant person/s and responded to in accordance with workplace procedures in a manner that minimises risk to personnel and equipment |
|  |  | 2.7 | Checks of installed apparatus quality are conducted in accordance with workplace procedures |
|  |  | 2.8 | System installation is conducted minimising waste of materials, damage to apparatus, circuits, the surrounding environment and services using sustainable energy principles |
| 3 | Complete installation and report installation activities | 3.1 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.2 | Final checks are conducted to confirm installed apparatus conforms to requirements |
|  |  | 3.3 | System operation is tested and installation verified as compliant with standards and work specifications |
|  |  | 3.4 | ‘As-installed’ apparatus and associated equipment are documented and relevant person/s notified in accordance with workplace procedures |
|  |  | 3.5 | Customer is informed of system operation, routine maintenance and limitations |
|  |  | 3.6 | Documentation required by standards or job specifications is provided to the customer |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEK134A Install ELV stand-alone photovoltaic power systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6