# UEERE0039 Install, set up and maintain ELV micro-hydro systems rated up to 6.4 kW

Release: 1

UEERE0039 Install, set up and maintain ELV micro-hydro systems rated up to 6.4 kW

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to install, adjust, set up and maintain extra-low voltage (ELV) micro-hydro systems rated up to 6.4 kilowatt (kW). It includes preparing to install ELV micro-hydro systems, installing ELV micro-hydro systems, and completing and reporting installation activities. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERE0045 Solve basic problems in micro-hydro systems

# Competency Field

Renewable Energy

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to install ELV micro-hydro systems | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and procedures for relevant work area are identified and applied in accordance with workplace procedures |
|  |  | 1.2 | WHS/OHS hazards are identified, risks assessed, reported to relevant person/s and workplace procedures for risk control measures applied in preparation for work |
|  |  | 1.3 | System installation is planned in consultation with others impacted by the work and sequenced appropriately |
|  |  | 1.4 | Nature and location of the work is determined from documentation or relevant person/s to determine the scope of work |
|  |  | 1.5 | Location of system components is planned within the constraints of the building structure and regulations |
|  |  | 1.6 | Instructions for coordinating work with others are obtained from relevant person/s and applied |
|  |  | 1.7 | Materials required are obtained in accordance with workplace procedures and checked against job requirements |
|  |  | 1.8 | Tools, equipment and testing devices required are obtained in accordance with workplace procedures and checked for correct operation and safety |
|  |  | 1.9 | Preparatory work is checked to ensure no damage has occurred and compliance with requirements |
| 2 | Install ELV micro-hydro systems | 2.1 | Need to test or measure live electrical work is determined in accordance with WHS/OHS requirements and conducted in accordance with workplace procedures |
|  |  | 2.2 | Circuits/machines/plant are isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | System components are installed in compliance with technical industry standards, job specifications and requirements, and with sufficient access to enable terminations, adjustment and maintenance |
|  |  | 2.4 | Wiring is terminated at system components in accordance with manufacturer specifications and functional and regulatory requirements |
|  |  | 2.5 | Unplanned situations are discussed with relevant person/s and responded to in accordance with workplace procedures in a manner that minimises risk to personnel and equipment |
|  |  | 2.6 | Checks of installed apparatus quality are conducted in accordance with workplace procedures |
|  |  | 2.7 | Apparatus installation is conducted minimising waste of materials, damage to apparatus, circuits, the surrounding environment and services using sustainable energy principles |
| 3 | Complete and report installation activities | 3.1 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.2 | Final checks are conducted to confirm installed apparatus conforms to requirements |
|  |  | 3.3 | ‘As-installed’ apparatus and associated equipment are documented and relevant person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEK137A Install, set up and maintain ELV micro-hydro systems rated up to 6.4 kW.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6