# UEERE0040 Maintain and monitor remote area essential service operations

Release: 1

UEERE0040 Maintain and monitor remote area essential service operations

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to maintain and monitor remote area essential service operations. It includes preparing to maintain a power station compound, monitoring performance, developing maintenance schedules, completing work and reporting outcomes. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEERE0023 Work safely with remote area power supply systems

# Competency Field

Renewable Energy

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to maintain remote area power supply (RAPS) compound and monitor performance | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements for a remote area power station facility are identified and applied in accordance with workplace routines and procedures |
|  |  | 1.2 | Risks are identified, assessed and control measures applied in accordance with workplace procedures prior to commencing work |
|  |  | 1.3 | Risks/hazards are identified, assessed, reported to relevant person/s and control measures implemented |
|  |  | 1.4 | Nature and location of remote area power station facility is obtained from documentation or from relevant person/s to determine the scope of work |
|  |  | 1.5 | Advice on coordinating work with others and the local community is obtained from relevant person/s and applied |
|  |  | 1.6 | Sources of materials required for work are identified and accessed in accordance with workplace routines and procedures |
|  |  | 1.7 | Tools, equipment and testing devices required for work are obtained and checked for correct operation and safety |
|  |  | 1.8 | Defective and unsafe tools and service equipment are repaired or replaced in accordance with workplace procedures |
| 2 | Maintain RAPS compound and monitor performance | 2.1 | Workplace risk control measures and procedures are applied |
|  |  | 2.2 | Circuits/machines/plant are isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.2 | Power station building, generating equipment and compound are cleaned and tidied to maintain a safe and efficient plant area in accordance with workplace procedures |
|  |  | 2.3 | Inspection and reporting are conducted on suitability, location and legibility of safety signage |
|  |  | 2.4 | Inspection and reporting are conducted on location, suitability and condition of firefighting equipment |
|  |  | 2.5 | Performance status and fuel and oil use of generation equipment is monitored and logged based on information obtained from instruments, meters and measuring devices |
|  |  | 2.7 | Non-routine events are referred to relevant person/s for directions in accordance with workplace procedures |
|  |  | 2.8 | Quality checks are conducted in accordance with instructions and workplace procedures |
| 3 | Develop maintenance schedule and complete work report | 3.1 | Workplace risk control measures and procedures are applied |
|  |  | 3.2 | Maintenance schedule is developed based on logged information on power station performance status and condition of compound |
|  |  | 3.3 | Maintenance issues beyond the scope of work are referred to relevant person/s in accordance with workplace procedures |
|  |  | 3.4 | Work completed is reported to relevant person/s in accordance with maintenance reporting and workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEK118A Maintain and monitor remote area essential service (RAPS) operations.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6