# UEERE0046 Solve problems in stand-alone renewable energy (RE) systems

Release: 1

UEERE0046 Solve problems in stand-alone renewable energy (RE) systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to solve problems in stand-alone renewable energy (RE) systems. It includes preparing to work on stand-alone RE systems, solving problems in stand-alone RE systems, completing work and documenting problem-solving activities. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEERE0025 Carry out basic repairs to renewable energy apparatus

# Competency Field

Renewable Energy

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to work on stand-alone RE systems | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) processes and procedures for relevant work area are identified and applied in accordance with workplace procedures |
|  |  | 1.2 | Risk control measures are applied in accordance with workplace procedures prior to commencing work |
|  |  | 1.3 | Nature of the apparatus problem is identified from documentation or from relevant person/s to determine the scope of work |
|  |  | 1.4 | Instructions for coordinating work with others is obtained from relevant person/s and applied |
|  |  | 1.5 | Materials required for the work are identified and accessed in accordance with workplace procedures |
|  |  | 1.6 | Tools, equipment and testing devices required for work are obtained and checked for correct operation and safety |
| 2 | Undertake problem solving in stand-alone RE systems | 2.1 | Need to test or measure live electrical work is determined in accordance with WHS/OHS requirements and conducted in accordance with workplace procedures |
|  |  | 2.2 | Circuits are isolated in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 2.3 | Stand-alone RE system problems are solved using measured and calculated values of apparatus operating parameters and in accordance with workplace procedures |
|  |  | 2.4 | Problems are solved without damage to apparatus, circuits, the surrounding environment and services applying sustainable energy practices |
| 3 | Complete work and document problem-solving activities | 3.1 | Worksite is cleaned and made safe in accordance with workplace procedures |
|  |  | 3.2 | Justification for solutions used to solve stand-alone RE systems problems is documented |
|  |  | 3.3 | Work completion is documented and relevant person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| RE system problem solving must include at least three of the following problems: | open circuit short circuit incorrect connections insulation failure unsafe condition apparatus/component failure related mechanical failure |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEK128A Solve problems in stand-alone renewable energy systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6