# UEERE0055 Conduct site survey for off-grid photovoltaic/generating set systems

Release: 1

UEERE0055 Conduct site survey for off-grid photovoltaic/generating set systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to complete site surveys for off-grid photovoltaic/generating set systems. It includes safe work practices, site survey processes and procedures, service provider responsibilities, consulting with qualified people to assess client energy demand requirements and assessing off-grid equipment options to meet client requirements and site conditions. It also covers provision of advice to the client on energy storage standards, codes of practices, government/utilities incentive schemes, and information related to the installation of off-grid renewable energy (RE) generation systems. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Renewable Energy

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to conduct site survey | 1.1 | Stakeholders are identified and client requirements and expectations for off-grid system obtained |
|  |  | 1.2 | Work health and safety (WHS)/occupational health and safety (OHS) requirements, relevant legislated requirements, and workplace procedures relevant to site survey are obtained and applied |
|  |  | 1.3 | Equipment and documentation needed for the site inspection are obtained in accordance with workplace procedures |
|  |  | 1.4 | Requirements for site survey and roles/responsibilities of people involved in site survey, design and installation are discussed with client |
|  |  | 1.5 | General information about industry standards, building/electrical regulations and codes, and risk minimisation is provided to client |
|  |  | 1.6 | Advice on the benefits of renewable energy generation systems and energy management is provided to client |
|  |  | 1.7 | Current client energy usage data is collected, and future changes identified |
|  |  | 1.8 | Resources, information sources and other people that will support gathering required site survey information are identified |
| 2 | Undertake and document site survey | 2.1 | Site survey for the proposed installation is safely undertaken |
|  |  | 2.2 | Current and expected future client energy generation needs are discussed, and expectations are clarified |
|  |  | 2.3 | Potential locations of equipment are discussed with client and preferences recorded |
|  |  | 2.4 | Site hazards that may impact installation are identified and documented |
|  |  | 2.5 | Information about site access, building structures, existing electrical infrastructure including existing RE and generation elements, available RE resources is gathered and included in report |
|  |  | 2.6 | Site survey report is prepared and provided to designer in accordance with workplace procedures |
|  |  | 2.7 | Designer, and other qualified person/s if required, are consulted and briefed on client expectations and requirements |
|  |  | 2.8 | Designer, and other qualified person/s if required, are consulted and briefed on site access, conditions, risks and potential installation issues |
|  |  | 2.9 | Options for off-grid energy generation and storage equipment to meet site requirements and client expectations are discussed with designer, and other qualified person/s if required |
|  |  | 2.10 | Placement of system components is considered, and any restrictions or issues of concern noted |
|  |  | 2.11 | Final site survey report is prepared after consultation with designer |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This is a new unit.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6