# UEERE0057 Coordinate the design of micro-grid renewable energy systems

Release: 1

UEERE0057 Coordinate the design of micro-grid renewable energy systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to coordinate the design of micro-grid renewable energy systems. It includes safe work practices, site survey processes and procedures, service provider responsibilities, consulting with qualified people to assess client energy demand requirements and assessing micro-grid equipment options to meet client requirements and site conditions. It also covers advice to the client on energy storage standards, codes of practices, government/utilities incentive schemes, and information related to the design and installation of a micro-grid renewable energy generation system. This unit is appropriate for Licenced Electricians or Electrical Engineers with responsibility for coordinating site survey for, and the design of, micro-grid renewable energy systems. Licensing, legislative or certification requirements that apply to this unit may differ between jurisdictions and system types. They should be checked prior to commencing this unit.

# Pre-requisite Unit

UEERE0054 Conduct site survey for grid-connected renewable energy systems UEERE0055 Conduct site survey for off-grid PV/genset systems UEERE0060 Design grid-connected energy storage systems UEERE0061 Design grid-connected photovoltaic power supply systems UEERE0063 Design off-grid PV Systems and UEEEL0039 - Design, install and verify compliance and functionality of general electrical installations or UEERE0051 Apply electrical principles to renewable energy design

# Competency Field

Renewable Energy

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to coordinate design of micro-grid | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures relevant to site assessment are obtained and applied |
|  |  | 1.2 | Scope and scale of proposed micro grid is determined from project brief |
|  |  | 1.3 | Stakeholders and required experts that need to be consulted and involved are identified and engaged |
|  |  | 1.4 | Site survey plan is developed in consultation with required personnel |
|  |  | 1.5 | Equipment and documentation needed for the site survey are obtained in accordance with workplace procedures |
|  |  | 1.6 | Requirements for site survey, contractual obligations, and roles/responsibilities of people involved are discussed with stakeholder/s |
|  |  | 1.7 | Requirements for production and approval of design are identified and documented |
| 2 | Coordinate site survey for a micro-grid | 2.1 | Details of project brief are verified, and any discrepancies recorded |
|  |  | 2.2 | Current stakeholder/s energy usage data is collected and expected future energy generation needs are discussed, and expectations are clarified |
|  |  | 2.3 | Energy resource data is collected |
|  |  | 2.4 | Information about site access, building structures and layout, and existing electrical infrastructure is gathered and documented |
|  |  | 2.5 | Site hazards that may impact installation are identified and documented |
|  |  | 2.6 | Reports and data from technical experts are obtained and added to site survey data |
|  |  | 2.7 | Distribution/network requirements are determined where required |
|  |  | 2.8 | Site survey data is analysed and report prepared |
| 3 | Coordinate the design of micro-grid | 3.1 | Any relevant industry standards, building/electrical regulations, codes and jurisdictional approval process are identified |
|  |  | 3.2 | Qualified person/s are consulted and briefed as required on site conditions, and client requirements and expectations |
|  |  | 3.3 | Options for micro-grid energy generation equipment to meet site requirements and client expectations are identified and noted |
|  |  | 3.4 | Different options for micro-grid energy storage equipment to meet site requirements and client expectations are identified and noted |
|  |  | 3.5 | Placement of system components is considered, and any restrictions or issues of concern noted |
|  |  | 3.6 | Micro-grid system performance standards and compliance methods are applied to the design development |
|  |  | 3.7 | Safety, functional and budgetary considerations are incorporated in design |
|  |  | 3.8 | Qualified person/s are consulted to ensure micro-grid system design draft complies with the design brief, industry standards and regulations, job requirements and workplace procedures |
|  |  | 3.9 | Micro-grid system design is documented in line with industry standards and regulations, job requirements and workplace procedures |
|  |  | 3.10 | Micro-grid system design is documented and submitted to relevant person/s for approval |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This is a new unit.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6