# Assessment Requirements for UEERE0060 Design grid-connected battery storage systems

Release: 1

Assessment Requirements for UEERE0060 Design grid-connected battery storage systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package. This unit replaces and is not equivalent to UEERE5001 - Design battery storage systems for grid-connected photovoltaic systems. Modifications include: Unit title changed Unit application updated Prerequisites changed Amendments made to Elements and Performance Criteria Range of conditions updated Significant amendments to performance and knowledge evidence requirements and CVIG content developed Assessment conditions updated.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant workplace procedures and practices, work health and safety (WHS)/occupational health and safety (OHS) requirements, including using risk control measures developing grid-connected battery storage system design based on site survey data and within safety and functional requirements and budget limitations and meet design brief documenting and presenting final design.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of the following. Additional advice and definitions for some items is provided in the UEE Training Package Companion Volume Implementation Guide (CVIG).

batteries including: meaning of the terms that define aspects of batteries including: battery cell primary and secondary cells charge and discharge rate depth of discharge (DOD) nominal voltage amp hour capacity state of charge (SOC) watt hour capacity usable capacity cycle life hazards associated with batteries and risk control measures major features of batteries suitable for grid-connected systems factors affecting the life of batteries common reasons for failure of batteries charging regimes suitable for batteries procedures for safe disposal and recycling of batteries battery storage energy demand including: load profiles illustrating average demand and maximum demand, based on appliances required during grid outages or during periods of high tariffs total energy demand including: energy required during periods of high tariffs length of time of typical or expected grid outage grid connected battery storage systems including: applications for battery storage including: electrical energy supply direct to loads during periods of high tariffs electrical energy supply during grid outages network / aggregator provider requirements communications, monitoring and metering objectives of grid-connected battery storage purpose of each component in a battery storage system for grid-connected PV system typical configurations of battery storage systems for grid-connected PV systems types and applications of charge controllers diagrams including: single line diagrams of battery storage systems for grid-connected PV systems including modifications to switchboard to cater for specified loads site diagrams to show the locations of equipment, fittings and cabling energy management strategies power conversion equipment including: differences between multimode and grid-connected output rating of multimode in relation to: capacity for battery charging required maximum demand program parameters for a multimode for the correct operation of the system blackout protection system design including: determining the system components, performance and warranty size and selection of the battery storage to meet the system performance requirements selecting and sizing the balance of system components to meet relevant industry standards, regulations and manufacturer requirements determining labelling to meet relevant industry standards, regulations and manufacturer requirements maintenance requirements to meet relevant industry standards, regulations and manufacturer requirements documentation requirements to meet relevant industry standards, regulations and manufacturer requirements Network / aggregator provider requirements WHS/OHS policy, workplace procedures and instructions.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations, current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations, current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: relevant industry standards relevant industry product standards AS/NZS 3000 Electrical installations (known as the Australian/New Zealand Wiring Rules) applicable documentation including: energy assessment forms examples of typical client objectives and site specific details manufacturer data sheets, installation manuals and user guides circuit diagrams relevant industry standards and regulations solar resource data and electricity tariffs. Assessment must include the design of battery storage systems for grid-connected PV systems that meet the specific requirements of the client within the guidelines of relevant Australian Standards, including designs for new and retrofit installations.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6