# Assessment Requirements for UEERE0083 Maintain safety and tidiness of remote area power supply systems

Release: 1

Assessment Requirements for UEERE0083 Maintain safety and tidiness of remote area power supply systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package. This unit replaces and is equivalent to UEERE0019 Maintain safety and tidiness of remote area power supply systems. Modifications include: Several duplicate performance criteria removed Range of conditions amended Updates to performance evidence.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures and practices removing non-remote area power supply (RAPS) equipment coordinating work with relevant person/s and the local community determining live testing/measurement requirements safely removing insects, spiders and any animals safely removing dust and dirt from floors and equipment maintaining safety and tidiness of RAPS system conducting quality checks completing reporting requirements to relevant person/s and local community.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

RAPS plant area cleaning, and maintaining RAPS systems, including: need for a clean and tidy plant area RAPS system components and associated equipment and their location within the plant area manual fuel pump, if available plant cleaning techniques: fuel and oil acid spills removal of dust, insects, spiders and animals removal of non-RAPS equipment techniques for reporting and dealing with cleaning issues relevant safe work method statements (SWMS) or risk mitigation processes relevant WHS/OHS legislated requirements procedures for quality checks relevant workplace documentation, policies and procedures, including reporting requirements.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to maintaining safety and tidiness of a RAPS system applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6