# UEERE0088 Work safely with remote area power supply systems

Release: 1

UEERE0088 Work safely with remote area power supply systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package. This unit replaces and is equivalent to UEERE0023 Work safely with remote area power supply systems. Modifications include: Several duplicate performance criteria removed Range of conditions amended Performance evidence updated.

# Application

This unit involves the skills and knowledge required to work safely on remote area power supply (RAPS) systems. It includes preparing to enter a RAPS system, applying safe working practices, and following workplace procedures for hazard identification and risk control in RAPS system areas. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Renewable Energy

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to enter a RAPS system | 1.1 | Hazards/risk control procedures for RAPS systems maintenance are identified and applied |
|  |  | 1.2 | System access permit is obtained from relevant person/s |
|  |  | 1.3 | Preparation for electrical and non-electrical isolation is completed in accordance with workplace procedures |
|  |  | 1.4 | Tools and equipment required for work are checked for safety and correct functionality in accordance with workplace procedures |
| 2 | Apply safe working practices in RAPS system area | 2.1 | Circuits/machines/system are confirmed as isolated in accordance with work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures |
|  |  | 2.2 | Safe work practices in RAPS system are applied in accordance with workplace procedures |
|  |  | 2.3 | Safe working practices are applied minimising waste of materials, energy, damage to apparatus, circuits, the surrounding environment and services |
|  |  | 2.4 | Quality checks are conducted in accordance with workplace procedures |
| 3 | Follow workplace procedures for hazard identification and risk control in RAPS system areas | 3.1 | Risks/hazards are identified, assessed and control measures implemented and monitored through consultation with relevant person/s and the local community |
|  |  | 3.2 | Workplace hazards are identified and reported to relevant person/s in accordance with workplace procedures |
|  |  | 3.3 | WHS/OHS incident reports are completed in accordance with regulatory requirements and workplace procedures |
|  |  | 3.4 | Instructions and training are applied in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Must include at least two different RAPS systems incorporating: | battery bank, generator set and a photo voltaic array at least one RAPS system with the addition of a wind generator. |

# Unit Mapping Information

This unit replaces and is equivalent to UEERE0023 Work safely with remote area power supply systems.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6