# Assessment Requirements for UEERL0003 Conduct in-service safety testing of electrical cord connected equipment and cord assemblies

Release: 1

Assessment Requirements for UEERL0003 Conduct in-service safety testing of electrical cord connected equipment and cord assemblies

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying appropriate tagging applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including using risk control measures connecting cords and apparatus to the testing device dealing with unplanned events in accordance with problem-solving techniques and workplace procedures documenting testing activities, including workplace register identifying safe and unsafe cords and apparatus preparing to test cord connected apparatus and cord assemblies preparing and using the portable appliance tester (PAT) safety testing of electrical cord connected equipment and cord assemblies tagging tested cord connected apparatus and cord assemblies and document testing activities using test results to determine the safety status.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

Australian Standards and Commonwealth/state/territory legislation and regulations including: Australian Standard AS/NZS 3760 In-service safety inspection and testing of electrical equipment Commonwealth/state/territory WHS/OHS Acts and regulations limitations of work that can be undertaken codes of practice and associated guidance material risk management principles basic electrical testing concepts, including: basic electrical circuits functions of electrical circuit conductors and insulators basic electrical supply system relationship of electrical quantities effects of electrical currents methods/devices used to negate or minimise electrical shock PAT PAT maintenance and calibration electrical equipment and cord assemblies testing, including: classification of electrical equipment inspection of electrical equipment (visual inspections) using PAT: earth continuity testing insulation resistance testing polarity testing (extension cords and IEC cords) testing and tagging documentation requirements, including: risk assessment documentation frequency of inspection and testing tagging of equipment records maintenance electrical cord testing and tagging documentation requirements electrical equipment and cord assemblies testing electrical testing concepts problem-solving techniques relevant job safety assessments or risk mitigation processes relevant legislation and regulations relevant manufacturer specifications relevant testing and tagging of portable and cord connected electrical apparatus relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated suitable workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations relevant and appropriate materials, tools, facilities. equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to conducting in-service safety testing of electrical cord connected equipment and cord assemblies applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6