# UEERL0006 Attach HV flexible cables and plugs

Release: 1

UEERL0006 Attach HV flexible cables and plugs

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to attach flexible cords, cables and plugs, including trailing and feeder cables, to high voltage (HV) electrical equipment connected to a supply exceeding 1,000 volts (V) alternating current (a.c). or 1,500 volts (V) direct current (d.c.). It includes working safely; identifying plug configurations; selecting and using inspecting, testing and measuring devices; terminating and connecting HV flexible cables, plugs and conductors; safety testing and reporting. The skills and knowledge described in this unit require a licence or permit to practice in the workplace where work is carried out on electrical installations which are designed to operate at voltages greater than 50 V a.c. or 120 V d.c. Competency development activities in this unit are subject to regulations directly related to licensing. Where a licence or permit to practice is not held, a relevant contract of training, such as an Australian Apprenticeship, may be required. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace UEERL0001 Attach cords and plugs to electrical equipment for connection to a single phase 230 volt supply UEERL0002 Attach cords, cables and plugs to electrical equipment for connection to 1,000 V a.c. or 1500 V d.c. supply

# Competency Field

Restricted Licensing

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan to attach flexible cables and plugs | 1.1 | Work is planned, sequenced and prepared in accordance with WHS/OHS requirements and workplace procedures |
|  |  | 1.2 | Condition and ratings of cables and plugs are determined from relevant industry standards and work instructions from relevant person/s |
|  |  | 1.3 | Flexible cables and plugs are selected in accordance with relevant industry standards and workplace procedure for condition and rating |
|  |  | 1.4 | Materials necessary to complete work are obtained in accordance with workplace procedures and checked against work instruction |
|  |  | 1.5 | Tools, equipment and testing devices needed to carry out work are obtained in accordance with workplace procedures and checked for correct operation and safety |
| 2 | Attach flexible cables and plugs | 2.1 | WHS/OHS policies and procedures are followed |
|  |  | 2.2 | Flexible cables and plugs are prepared without damage to insulation and conductors and in accordance with relevant industry standards |
|  |  | 2.3 | Equipment is earthed in accordance with relevant industry standards and confirmed de-energised |
|  |  | 2.4 | Visual inspection and checks of the electrical equipment and associated wiring are conducted in accordance with workplace procedures to detect any abnormal damage or fault |
|  |  | 2.5 | Approval is obtained in accordance with workplace procedures from relevant person/s before any contingencies are implemented |
|  |  | 2.6 | Insulated equipment is inspected and maintained in accordance with relevant industry standards and workplace procedures |
|  |  | 2.7 | Conductors are connected to terminals ensuring the required polarity is in accordance with relevant industry standards |
| 3 | Inspect and test equipment for operation and safety | 3.1 | HV electrical installation and operation of cables and plugs connected to equipment are inspected and tested in accordance with relevant industry standards, work instructions and workplace procedures |
|  |  | 3.2 | Approval is obtained from relevant person/s to confirm completion of work is in accordance with workplace procedures before supply is connected |
|  |  | 3.3 | Status reports are completed in accordance with established procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| Flexible cables and plugs for connecting equipment intended to operate at HV must not include: | where high fault currents are possible on complex electrical work competencies associated with fixed wiring |

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEP023A HV Flexible Cables and Plugs.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6