# UEERS0008 Install and maintain non-vital telemetry systems

Release: 1

UEERS0008 Install and maintain non-vital telemetry systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package.

# Application

This unit involves the skills and knowledge required to install/maintain non-vital telemetry equipment and systems in a rail network. It includes preparing and installing/maintaining non-vital telemetry system. It also includes completing the installation/maintenance of non-vital telemetry systems, repairing faults, testing telemetry equipment and reporting requirements. Persons achieving competence in this unit will need to fulfil the applicable state/territory legislated rail safety requirements and to comply with relevant codes of practice, rules and/or guidelines. No other licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEECD0007 Apply work health and safety regulations, codes and practices in the workplace

# Competency Field

Rail Signalling

# Unit Sector

Electrotechnology

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to install/ non-vital telemetry system | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) requirements and workplace procedures for a given work area are identified, obtained and clarified |
|  |  | 1.2 | Hazards are identified, WHS/OHS risks assessed, and control measures and workplace procedures implemented in preparation for work |
|  |  | 1.3 | Safety hazards not previously identified are noted on job safety assessments, and risk control measures are determined and implemented |
|  |  | 1.4 | Function of equipment is determined in accordance with operating manuals, rail system specifications and rail transport operator’s interface |
|  |  | 1.5 | Materials needed to install/maintain non-vital telemetry system are obtained in accordance with system specifications and workplace procedures |
|  |  | 1.6 | Tools, equipment and testing devices needed to install/maintain non-vital telemetry system and diagnose the fault are obtained in accordance with workplace procedures and checked for correct operation and safety |
| 2 | Install/maintain non-vital telemetry system | 2.1 | WHS/OHS risk control measures and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Installation/maintenance work is carried out in accordance with manufacturer specifications and workplace procedures |
|  |  | 2.3 | Normal function and operating parameters are confirmed in accordance with appropriate manuals, job/manufacturer specifications and rail operator’s interface |
|  |  | 2.4 | Fault-finding and diagnostic techniques are undertaken using circuit diagrams and manufacturer specifications to verify system/faults |
|  |  | 2.5 | Methods for dealing with unplanned situations are determined on the basis of safety and specified work outcomes |
|  |  | 2.6 | Installation/maintenance work is carried out efficiently, without waste of materials or damage to apparatus, the surrounding environment or services using sustainable energy practices |
|  |  | 2.7 | Fault/s is isolated and assessed to determine appropriate repair method, tools, test and measurement instruments to be used |
|  |  | 2.8 | Faulty, damaged or insecure components are replaced/repaired or secured in accordance with manufacturer/technical specifications, workplace procedures and returned to service |
|  |  | 2.9 | Parts/components identified as suitable for replacement are replaced from available parts/component resources |
|  |  | 2.10 | Parts/components requiring repairs beyond the repair capacity of the service centre are despatched for external repairs or disposed of in accordance with workplace procedures |
|  |  | 2.11 | Faults are diagnosed and rectified efficiently without waste of materials or damage to apparatus, the surrounding environment or services using sustainable energy practices |
|  |  | 2.12 | Repaired/replaced equipment is tested using approved test equipment in accordance with appropriate test procedures to ensure equipment is fully operational |
|  |  | 2.13 | Test equipment is checked to ensure it is calibrated to manufacturer/technical specifications in accordance with industry standards and workplace procedures |
|  |  | 2.14 | Appropriate adjustments and calibrations are carried out to manufacturer/technical specifications in accordance with industry standards and workplace procedures |
| 3 | Complete non-vital telemetry system installation/maintenance | 3.1 | WHS/OHS work completion risk control measures and workplace procedures are followed |
|  |  | 3.2 | Documentation is completed to confirm equipment has been repaired to manufacturer specifications and relevant technical reports produced |
|  |  | 3.3 | Arrangements are made for the safe return of equipment to the customer and in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEE Electrotechnology Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEENEEN110A Install and maintain non-vital telemetry systems.

# Links

Companion Volume implementation guides are found in VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6