# Assessment Requirements for UEERS0031 Maintain rail signalling power supplies

Release: 1

Assessment Requirements for UEERS0031 Maintain rail signalling power supplies

# Modification History

Release 1. This is the first release of this unit of competency in the UEE Electrotechnology Training Package. This unit replaces and is equivalent to UEERS0010 Install and maintain rail signalling power supplies. Modifications this release include: Title changed. Application updated to reflect title change. Element titles and performance criteria amended to reflect title change. Performance criteria 1.7, 2.2, 3.2 and 3.3 added. Performance and Knowledge Evidence updated for clarity.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: implementing workplace procedures and practices using risk control measures applying sustainable energy principles and practices following relevant codes of practice, procedures and requirements interpreting specifications and circuit diagrams correctly using tools and test instruments correctly maintaining power supplies correctly using appropriate diagnostic and fault-finding techniques checking: quality of the DC power supply feeding the equipment quality & operation of the communications links, where applicable availability of any protective earthing, surge protection completing relevant technical reports, records and documentation completing installation/maintenance of rail signalling power supplies dealing with unplanned events

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

rail terminology including: rail signalling nomenclature rail signalling symbols relevant state/territory standards standard glossary of terms relevant to each state/territory and where the standard originated from and how new standards are developed to meet a national standard power supply alarms and their significance to reliable operation of the signalling system the relationship to the signalling arrangement plan/scheme abnormal train operating conditions, including signaller operation error, driver operation error, train delayed and train breakdown emergency train and signal system operation including degraded signalling system performance, including a partial failure of signalling infrastructure or a system override unscheduled infrastructure maintenance rail signal power supply maintenance, safe working practices and relevant standards, codes and regulations for basic rail operations, including: typical issues affecting electrotechnology services and systems equipment and their components including: transformers batteries converters uninterruptable power supplies (UPS) synchronising switches (STS) generator solar panels, including Regulation and solar charging for remote standalone SELV DC earthing requirements including relevant operators and Australian Standards and area specific designs surge protection including relevant operators and Australian Standards and area specific designs switchboards high voltage (HV) and low voltage (LV) power distribution automatic power changeover panels wiring and termination operating principles and parameters including: normal mode operation alarm mode redundancy mode power interruption/standby mode interpreting circuits diagrams to evaluate correct operation and relationship to other signalling circuits and equipment servicing procedures including: maintenance documentation coordination/planning sequence operational test procedures scheduled/preventative maintenance unscheduled/corrective maintenance certifying power supply equipment, including certifying procedures applicable for compliance with rail operator and/or enterprise standards inverters including: faults in inverters features and characteristic of inverters under load and no-load characteristics - circuit configuration, input and output wave forms, relationship between input and output voltages and output voltage under load conditions linear and switch mode power supplies, including: direct current (d.c.) to d.c. converters diagnostic procedures to isolate faults isolation requirements and circuitry characteristics of switched mode power supplies operation of step-down and step-up regulators, variable frequency and pulse width modulated regulation techniques, and switched mode power supplies radiation suppression circuitry typical applications of inverters. environmental and heritage requirements and regulation WHS/OHS requirements including: legislated requirements safe working practices job safety assessments or risk mitigation processes maintaining work activities records including: purpose and extent of records types of records methods for recording records required by regulation relevant standards, codes and regulations relevant manufacturer specifications and manuals relevant workplace documentation, policies and procedures

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in suitable workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in suitable simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry resources that reflect current industry practices in relation to maintaining rail signalling power supplies applicable documentation, including workplace procedures, equipment specifications, regulations, enterprise work activities records, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b8a8f136-5421-4ce1-92e0-2b50341431b6