# UEESS00221 RAC - Inspect, Test and Repair Fire and Smoke Control Features of Mechanical Services Systems

Release: 1

UEESS00221 RAC - Inspect, Test and Repair Fire and Smoke Control Features of Mechanical Services Systems

# Modification History

Release 1. This is the first release of this Skill Set in the UEE Electrotechnology Training Package. This skill set replaces and is equivalent to UEESS00188 RAC - Inspect, Test and Repair Fire and Smoke Control Features of Mechanical Services Systems.

# Description

This Skill Set is for persons who are required to inspect, test and repair all safety measures relating to fire and smoke control features of mechanical services systems.

# Pathways Information

The units of competency in this Skill Set will contribute to the completion of relevant refrigeration and air conditioning Certificate III, Certificate IV, Diploma and Advanced Diploma qualifications from the UEE Electrotechnology Training Package. Entry Requirements It is essential that persons undertaking this Skill Set already hold the following qualification: Certificate III in Air Conditioning and Refrigeration.

# Licensing/Regulatory Information

Competency development activities in this Skill Set are subject to regulations directly related to licensing. Additional licences, permits and/or other conditions may apply in some jurisdictions subject to regulations related to fire and smoke control features of mechanical services systems work. Practice in the workplace and during training is also subject to work health and safety (WHS)/occupational health and safety (OHS) regulations. Permits may also be required for some work environments, such as confined spaces, working aloft, near live electrical apparatus and site rehabilitation.

# Skill Set Requirements

| A total of 3 units of competency must be attained. There are units of competency within this Skill Set that contain pre-requisites. Units of competency that have a pre-requisite requirement are identified by this symbol *. Refer directly to the units of competency to identify pre-requisite requirements to ensure all are complied with. A list of all pre-requisites is also provided in the UEE Pre-requisite Companion Volume. |  |
| --- | --- |
| UEECD0007 | Apply work health and safety regulations, codes and practices in the workplace |
| UEERA0099 | Install, commission, service and maintain air conditioning systems* |
| UEERA0098 | Inspect, test and repair fire and smoke control features of mechanical services systems* |

# Target Group

This Skill Set is intended for persons who are required to inspect, test and repair fire and smoke control features of mechanical services systems.

# Suggested words for Statement of Attainment

This Skill Set from the UEE Electrotechnology Training Package meets the industry requirements for inspecting, testing and repairing fire and smoke control features of mechanical services systems.

# Custom Content Section

Not applicable.