# UEE62311 Advanced Diploma of Electrical Engineering - Coal Mining

Release 5

UEE62311 Advanced Diploma of Electrical Engineering - Coal Mining

# Modification History

| Release | Action | Core/Elective | Details | Points |
| --- | --- | --- | --- | --- |
| 3 | Edit |  | Edit Name to reflect correct Unit title UEENEED104A Use engineering applications software on personal computers | 40 |
| 3 | Edit |  | Edit Name to Reflect correct Unit Title UEENEEI124A Fault find and repair analogue circuits and components in electronic control systems |  |
| 3 | Edit |  | Move unit from Elective Group C to Group B UETTDRIS67A Solve problems in energy supply network equipment |  |
| 3 | Edit |  | Move unit from Elective Group C to Group B UETTDRIS68A Solve problems in energy supply network protection equipment and systems |  |

| 4 | Edit | Group D | Edit Name to reflect correct Unit title UEENEEI151A Develop, enter and verify word and analogue control programs for programmable logic controllers. | 60 |
| --- | --- | --- | --- | --- |

| 5 | Update | Elective | RIIRAI609D - Establish and maintain electrical installations, reticulation and protection system | 120 |
| --- | --- | --- | --- | --- |
| 5 | Update | Elective | RIIRIS601D - Establish and maintain the risk management system | 100 |
| 5 | Edit | Core | Correct title of RIIRAI609A - Establish and maintain electrical installations, reticulation and protection system | 120 |
| 5 | Edit | Elective | Correct title of UEENEEI154A - Design and use advanced programming tools PC networks and HMI Interfacing | 120 |
| 5 | Edit | Elective | Correct title of UEENEEM038A - Conduct testing of hazardous areas installations - coal mining | 40 |
| 5 | Edit | Elective | Correct title of UEENEEM043A - Conduct detailed inspection of hazardous areas installations - coal mining | 40 |
| 5 | Edit | Elective | Correct title of UEENEEM074A - Plan electrical installations in hazardous areas - Coal mining | 20 |
| 5 | Edit | Elective | Correct title of UEENEEM080A - Report on the integrity of explosion-protected equipment in a hazardous area | 20 |

# Description

Scope

This qualification provides competencies to design and validate/evaluate coal mining electrical equipment and systems, manage risk, estimate and manage projects and provide technical advice/sales.

It develops competencies in the ethical and responsible application of mathematics, science, engineering techniques, Standards and Codes of Practice, engineering design practices, supervision and management of physical, human and financial resources in engineering.

The core competencies of this qualification meet\ the prescribed requirements for Engineering Associate membership of Engineers Australia and ERAC requirements for an ‘Electrician’s licence’.

Participants seeking Engineers Australia membership should ensure that their training provider is accredited by that body to provide Engineering Education Programs at the level of Engineering Associate.

# Pathways Information

Not Applicable

# Licensing/Regulatory Information

Not Applicable

# Entry Requirements

Not Applicable

# Employability Skills Summary

Not Applicable

# Packaging Rules

Completion requirements

The requirements for granting this qualification will be met when competency is demonstrated and achieved for:

All the Core competency standard units, defined in the Core Competency Standard Units table below and

A combination of Elective competency standard units to achieve a total weighting of 320 points in accordance with the Elective Competency Standard Units table below.

Note: UEENEEG105A - Those holding an ‘Unrestricted Electricians Licence or equivalent issued in an Australian State or Territory meet the requirements of this unit and its pre-requisite requirements.

| Core Competency Standard Units All Core competency standard units to be achieved |  | Weighting Points |
| --- | --- | --- |
| RIIRAI609D | Establish and maintain electrical installations, reticulation and protection system | 120 |
| RIIRIS601D | Establish and maintain the risk management system | 100 |
| UEENEED104A | Use engineering applications software on personal computers | 40 |
| UEENEEE006B | Apply methods to maintain currency of industry developments | 20 |
| UEENEEE015B | Develop design briefs for electrotechnology projects | 40 |
| UEENEEE071B | Write specifications for electrical engineering projects | 40 |
| UEENEEE080A | Apply industry and community standards to engineering activities | 20 |
| UEENEEE081A | Apply material science to solving electrotechnology engineering problems | 60 |
| UEENEEE082A | Apply physics to solving electrotechnology engineering problems | 60 |
| UEENEEE083A | Establish and follow a competency development plan in an electrotechnology engineering discipline | 120 |
| UEENEEE101A | Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEE102A | Fabricate, assemble and dismantle utilities industry components | 40 |
| UEENEEE104A | Solve problems in d.c. circuits | 80 |
| UEENEEE105A | Fix and secure electrotechnology equipment | 20 |
| UEENEEE107A | Use drawings, diagrams, schedules, standards, codes and specifications | 40 |
| UEENEEE117A | Implement and monitor energy sector OHS policies and procedures | 20 |
| UEENEEE124A | Compile and produce an energy sector detailed report | 60 |
| UEENEEE125A | Provide engineering solutions for problems in complex multiple path circuits | 60 |
| UEENEEE126A | Provide solutions to basic engineering computational problems | 60 |
| UEENEEE137A | Document and apply measures to control OHS risks associated with electrotechnology work | 20 |
| UEENEEG006A | Solve problems in single and three phase low voltage machines | 80 |
| UEENEEG033A | Solve problems in single and three phase low voltage electrical apparatus and circuits | 60 |
| UEENEEG063A | Arrange circuits, control and protection for general electrical installations | 40 |
| UEENEEG101A | Solve problems in electromagnetic devices and related circuits | 60 |
| UEENEEG102A | Solve problems in low voltage a.c. circuits | 80 |
| UEENEEG103A | Install low voltage wiring and accessories | 20 |
| UEENEEG104A | Install appliances, switchgear and associated accessories for low voltage electrical installations | 20 |
| UEENEEG105A | Verify compliance and functionality of low voltage general electrical installations | 40 |
| UEENEEG106A | Terminate cables, cords and accessories for low voltage circuits | 40 |
| UEENEEG107A | Select wiring systems and cables for low voltage general electrical installations | 60 |
| UEENEEG108A | Trouble-shoot and repair faults in low voltage electrical apparatus and circuits | 40 |
| UEENEEG109A | Develop and connect electrical control circuits | 80 |
| UEENEEG149A | Provide engineering solutions to problems in complex polyphase power circuits | 60 |
| UEENEEG169A | Manage large electrical projects | 40 |
| UEENEEG170A | Plan large electrical projects | 60 |
| UEENEEK132A | Develop strategies to address environmental and sustainability issues in the energy sector | 20 |
| Total points in core |  | 1840 |

| Elective Competency Standard Units Complete Elective units to achieve a total of weighting of 320 points from the following groups: |  |  |  |
| --- | --- | --- | --- |
| Group |  | Minimum points | Maximum points |
| A | Imported and Common Elective Units Imported units from other training packages and/or state accredited courses can be added to this group, but they must be selected from qualifications where the unit is first packaged at AQF level 6. If units have not being assigned a weighting by the relevant EE-Oz Industry Technical Advisory Committee, their weighting will be 10 points. | 0 | 160 |
| B | Qualification Elective Units | 0 | 60 |
| C | Qualification Elective Units | 0 | 100 |
| D | Qualification Elective Units | 0 | 60 |
| E | Qualification Elective Units You may select the majority of your elective units from this Group | 160 | 320 |

| Group A – Imported and Common Electives Units You may complete units to a maximum weighting of 160 |  | Weighting Points |
| --- | --- | --- |
| BSBMGT502B | Manage people performance | 70 |
| BSBINM501A | Manage an information or knowledge management system | 50 |
| BSBMGT516C | Facilitate continuous improvement | 60 |
| BSBINN502A | Build and sustain an innovative work environment | 50 |
| BSBWOR502B | Ensure team effectiveness | 60 |
|  | Imported units from other training packages and/or state accredited courses can be added to this group, but they must be selected from qualifications where the unit is first packaged at AQF level 6. If units have not being assigned a weighting by the relevant EE-Oz Industry Technical Advisory Committee, their weighting will be 10 points. Note: For further information see Application of the NQC Flexibility Formula, UEE11 Electrotechnology Training Package, Version 1, Volume 1 Qualification Framework | Up to 160 points |

| Group B – Qualification Elective Units You may complete units to a maximum weighting of 60 |  | Weighting Points |
| --- | --- | --- |
| UEENEEM019A | Attend to breakdowns in hazardous areas — coal mining | 20 |
| UEENEEM023A | Install explosion-protected equipment and wiring systems — coal mining | 60 |
| UEENEEM027A | Maintain equipment in hazardous areas — coal mining | 60 |
| UEENEEM031A | Overhaul and repair of explosion-protected equipment — coal mining | 60 |
| UEENEEM080A | Report on the integrity of explosion-protected equipment in a hazardous area | 20 |
| Group C – Qualification Elective Units You may complete units to a maximum weighting of 100 |  | Weighting Points |
| UEENEEC005B | Estimate electrotechnology projects | 40 |
| UEENEEE110A | Develop and implement energy sector maintenance programs | 60 |
| UEENEEG121A | Verify compliance and functionality of special LV electrical installations | 40 |
| UEENEEG122A | Conduct compliance inspection of single phase LV electrical installations | 60 |
| UEENEEG123A | Conduct compliance inspection of LV electrical installations with demand exceeding 100 A per phase | 40 |
| UEENEEG124A | Conduct compliance inspection of special LV electrical installations | 60 |
| UEENEEG125A | Plan electrical installations with a low voltage demand up to 400 A per phase | 40 |
| UEENEEG128A | Plan low voltage switchboard and control panel layouts | 40 |
| UEENEEG157A | Conduct electrical tests on LV electrical machines | 40 |
| UEENEEG158A | Conduct electrical tests on HV electrical machines | 60 |
| UEENEEG159A | Conduct mechanical tests on electrical machines and components | 40 |
| UEENEEI139A | Diagnose and rectify faults in digital controls systems | 60 |
| UEENEEI150A | Develop, enter and verify discrete control programs for programmable controllers | 60 |
| UEENEEI155A | Develop structured programs to control external devices | 40 |
| UEENEEM038A | Conduct testing of hazardous areas installations - coal mining | 40 |
| UEENEEM042A | Conduct visual inspection of hazardous areas installations | 40 |
| UEENEEM043A | Conduct detailed inspection of hazardous areas installations - coal mining | 40 |
| UEENEEM047A | Develop and manage maintenance programs for hazardous areas electrical equipment — coal mining | 20 |
| UEENEEM078A | Manage compliance of hazardous areas | 20 |
| UETTDRIS67A | Solve problems in energy supply network equipment | 80 |
| UETTDRIS68A | Solve problems in energy supply network protection equipment and systems | 40 |
| Group D – Qualification Elective Units You may complete units to a maximum weighting of 60 |  | Weighting Points |
| UEENEEC006B | Prepare tender submissions for electrotechnology projects | 60 |
| UEENEEI152A | Develop, enter and verify programs in Supervisory Control and Data Acquisition systems | 60 |
| UEENEEI151A | Develop, enter and verify word and analogue control programs for programmable logic controllers. | 60 |
| UEENEEI157A | Configure and maintain industrial control system networks | 60 |
| UEENEEG127A | Design electrical installations with a low voltage demand greater than 400 A per phase | 40 |
| UEENEEG131A | Evaluate performance of low voltage electrical apparatus | 40 |
| UEENEEG132A | Carry out low voltage electrical field testing and report findings | 60 |
| UEENEEG160A | Evaluate performance of LV electrical machines | 40 |
| UEENEEG172A | Investigate and report on electrical incidents and causes | 60 |
| UEENEEI153A | Design and configure Human-Machine Interface (HMI) networks | 60 |
| UEENEEI124A | Fault find and repair analogue circuits and components in electronic control systems | 60 |
| UEENEEM036A | Conduct a conformity assessment of explosion-protected equipment — gas atmospheres | 40 |
| UEENEEM035A | Conduct a conformity assessment of explosion-protected equipment — coal mining | 40 |
| UEENEEM064A | Conduct audit of hazardous areas installations — coal mining | 60 |
| UEENEEM074A | Plan electrical installations in hazardous areas - Coal mining | 20 |

| Group E – Qualification Elective Units You must complete units to a minimum weighting of 160 You may select all your elective units from this Group |  | Weighting Points |
| --- | --- | --- |
| UEENEEC007B | Manage contract variations | 40 |
| UEENEEE127A | Use advanced computational processes to provide solutions to energy sector engineering problems | 80 |
| UEENEEG130A | Design switchboards rated for high fault levels (greater than 400 A) | 60 |
| UEENEEG145A | Develop engineering solutions for induction machine and control problems | 60 |
| UEENEEG161A | Design and develop modifications to LV electrical machines | 60 |
| UEENEEI145A | Diagnose and rectify faults in a.c. motor drive systems | 60 |
| UEENEEI146A | Diagnose and rectify faults in d.c. motor drive systems | 60 |
| UEENEEI147A | Diagnose and rectify faults in servo drive systems | 60 |
| UEENEEI154A | Design and use advanced programming tools PC networks and HMI Interfacing | 120 |
| UEENEEM067A | Assess the fitness-for-purpose of hazardous areas explosion-protected equipment — coal mining | 60 |
| UETTDRIS73A | Develop engineering solutions for energy supply power transformer problems | 60 |

Note:

1. Pre-requisite pathways shall be identified and met for all elective units selected.

2. In selecting elective units considerations to career planning advice should be given to units that form part of a pre-requisite pathway for the progression to achieve particular competencies or qualification at a higher level.

3. Registered training organisations shall also provide information related to the relevant pathway(s) that may be taken to achieve paraprofessional status ("associate membership") with a professional engineering membership organisation.

END OF QUALIFICATION