# UEENEEN004B Perform cable tests

Release: 1

UEENEEN004B Perform cable tests

# Modification History

Not Applicable

# Unit Descriptor

| Unit Descriptor | 1) 1.1) Descriptor |
| --- | --- |
|  | This unit covers testing of signal and communication cables. It encompasses safe working, regulatory requirements and following work procedures determining the tools required setting up and conducting test, interpreting test results, determining activities to maintain system integrity and reporting activities. |

# Application of the Unit

| Application of the Unit | 4) |
| --- | --- |
|  | This unit shall apply to qualifications in installation and maintenance of rail signalling electrical power and control systems. |

# Licensing/Regulatory Information

1.2) License to practice

The skills and knowledge described in this unit may only be practised in the workplace under regulations related to electrical work, the codes of practice and regulations of the State/Territory in which the work is carried out. This includes codes of practice such as the 'Code Of Practice for the Defined Interstate Rail Network' for work carried out on that network.

# Pre-Requisites

| Prerequisite Unit(s) | 2) |
| --- | --- |
|  | 2.1) Competencies |
|  | Granting competency in this unit shall be made only after competency in the following unit(s) has/have been confirmed. UEENEEG005B Verify compliance and functionality of general electrical installations AND work place requirements in 'Work site protection' have been acquired. For the full prerequisite chain details for this unit please refer to Table 2 in Volume 1, Part 2 |

# Employability Skills Information

| Employability Skills | 3) This unit contains Employability Skills The required outcomes described in this unit of competency contain applicable facets of Employability Skills. The Employability Skills Summary of the qualification in which this unit of competency is packaged will assist in identifying Employability Skill requirements. |
| --- | --- |

# Elements and Performance Criteria Pre-Content

| 6) Elements describe the essential outcomes of a unit | Performance criteria describe the required performance needed to demonstrate achievement of the Element. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| 1 | Prepare to perform cable system testing. | 1.1 | OHS procedures for a given work area are identified, obtained and understood. |
|  |  | 1.2 | Established OHS risk control measures and procedures are followed in preparation for the work. |
|  |  | 1.3 | Safety hazards that have not previously been identified are noted, and established risk control measures are implemented. |
|  |  | 1.4 | Access times and methods are confirmed to comply with customer requirements and relevant legislation |
|  |  | 1.5 | Service is checked for availability for testing and is isolated/disconnected from use and carriers network/equipment to ensure no equipment damage can occur during testing |
|  |  | 1.6 | Required tests and purpose of tests are identified from site, client documentation and manufacturer specifications |
|  |  | 1.7 | Tools and testing devices needed for cable testing are obtained in accordance with established procedures and checked for correct operation and safety |
|  |  | 1.8 | Testing devices calibration certification is checked and is current to ensure manufacturers specifications are achieved |
| 2 | Perform cable tests. | 2.1 | Work area and cable system is made safe for testing and other OHS risk control measures and procedures for carrying out the testing are followed. |
|  |  | 2.2 | Tests are set up and performed in accordance with safety measures and manufacturer specifications. |
|  |  | 2.3 | Test results are read accurately and compared against manufacturers and site specifications for cable performance |
|  |  | 2.4 | Established methods for dealing with unexpected situations are dealt with safely and with the approval of an authorised person |
|  |  | 2.5 | Testing is performed efficiently without waste of materials or damage to apparatus and the surrounding environment or services and using sustainable energy practices. |
|  |  | 2.6 | Available services are connected and tested for functionality to ensure all previous services have been resumed |
| 3 | Report test results. | 3.1 | OHS work completion risk control measures and procedures are followed. |
|  |  | 3.2 | Recommendations on actions needed to maintain cable system integrity resulting from cable tests are made and documented |
|  |  | 3.3 | Results of tests are documented accurately and without delay to ensure test results remain current |
|  |  | 3.4 | Site and installation files are updated to ensure traceability of information on system performance is maintained |

# Required Skills and Knowledge

| REQUIRED SKILLS AND KNOWLEDGE |  |  |
| --- | --- | --- |
| 7) This describes the essential skills and knowledge and their level, required for this unit. |  |  |
| Evidence shall show that knowledge has been acquired of safe working practices and performing cable system tests. All knowledge and skills detailed in this unit should be contextualised to current industry practices and technologies. The extent of the essential knowledge and associated skills (EKAS) required is given in Volume 2 - Part 2.2 EKAS. It forms an integral part of this unit. |  |  |
|  | 2.2.2 | Enterprise work activities records |
|  | 2.4.16 | Personal computers, engineering applications software basic |
|  | 2.5.4 | Technical standards, regulations and codes rail networks |
|  | 2.5.10 | Technical manuals and catalogues |
|  | 2.5.11 | Environmental heritage awareness |
|  | 2.11.8 | Data and voice cabling testing devices |
|  | 2.14.1 | Basic rail operations |
|  | 2.14.9 | Rail signalling, train detection |
|  | 2.14.12 | Rail signalling, power supplies |
|  | 2.14.14 | Rail signalling, drawings and diagrams |
|  | 2.14.15 | Rail signalling, regulations and codes |
|  | 2.18.1 | Occupational Health and Safety principles |
|  | 2.18.2 | Electrical Safe working practices |
|  | 2.18.5 | Rail safe working practices |

# Evidence Guide

| EVIDENCE GUIDE |  |  |  |  |
| --- | --- | --- | --- | --- |
| 9) The evidence guide provides advice on assessment and must be read in conjunction with the Performance Criteria, Required Skills and Knowledge, the Range Statement and the Assessment Guidelines for this Training Package. The Evidence Guide forms an integral part of this unit. It must be used in conjunction with all components parts of this unit and performed in accordance with the Assessment Guidelines of this Training Package. |  |  |  |  |
| Overview of Assessment | 9.1) Longitudinal competency development approaches to assessment, such as Profiling, require data to be reliably gathered in a form that can be consistently interpreted over time. This approach is best utilised in Apprenticeship programs and reduces assessment intervention. It is the industry-preferred model for apprenticeships. However, where summative (or final) assessment is used it must include the application of the competency in the normal work environment or, at a minimum, the application of the competency in a realistically simulated work environment. In some circumstances, assessment in part or full can occur outside the workplace. However, it must be in accordance with industry and regulatory policy. Methods chosen for a particular assessment will be influenced by various factors. These include the extent of the assessment, the most effective locations for the assessment activities to take place, access to physical resources, additional safety measures that may be required and the critical nature of the competencies being assessed. The critical safety issues inherent in working with electricity, electrical equipment, gas or any other hazardous substance/material present a challenge for those determining competence. Sources of evidence need to be 'rich' in nature to minimise error in judgment. Activities associated with normal everyday work influence decisions about how/how much the data gathered will contribute to its 'richness'. Some skills are more critical to safety and operational requirements while the same skills may be more or less frequently practised. These points are raised for the assessors to consider when choosing an assessment method and developing assessment instruments. Sample assessment instruments are included for Assessors in the Assessment Guidelines of this Training Package. |  |  |  |
| Critical aspects of evidence required to demonstrate competency in this unit | 9.2) Before the critical aspects of evidence are considered all prerequisites must be met. |  |  |  |
|  | Evidence for competence in this unit shall be considered holistically. Each Element and associated performance criteria shall be demonstrated on at least two occasions in accordance with the 'Assessment Guidelines - UEE07'. Evidence shall also comprise: A representative body of work performance demonstrated within the timeframes typically expected of the discipline, work function and industrial environment. In particular this shall incorporate evidence that shows a candidate is able to: |  |  |  |
|  | Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the performance criteria and range statement Apply sustainable energy principles and practices as specified in the performance criteria and range statement Demonstrate an understanding of the essential knowledge and associated skills as described in this unit. It may be required by some jurisdictions that RTOs provide a percentile graded result for the purpose of regulatory or licensing requirements. Demonstrate an appropriate level of skills enabling employment Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures |  |  |  |
|  | Demonstrated consistent performance across a representative range of contexts from the prescribed items below: |  |  |  |
|  | Perform cable system tests as described in 8) and including: |  |  |  |
|  |  | A | Interpreting plans and specifications correctly, |  |
|  |  | B | Testing cable in accordance with workplace procedures, |  |
|  |  | C | Using test equipment and tools correctly and safely, |  |
|  |  | D | Confirming the integrity of a cable system, |  |
|  |  | E | Checking that technically/operational specifications are met and that cable is in compliance with specification, |  |
|  |  | F | Applying effective cable fault diagnosis and repair techniques, |  |
|  |  | G | Following relevant codes of practice, procedures and requirements, and |  |
|  |  | H | Completing relevant records and documentation |  |
|  |  | I | Dealing with unplanned events by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |  |
|  | Note: Successful completion of relevant vendor training may be used to contribute to evidence on which competency is deemed. In these cases the alignment of outcomes of vendor training with performance criteria and critical aspects of evidence shall be clearly identified. |  |  |  |
| Context of and specific resources for assessment | 9.3) This unit should be assessed as it relates to normal work practice using procedures, information and resources typical of a workplace. This should include: OHS policy and work procedures and instructions. Suitable work environment, facilities, equipment and materials to undertake actual work as prescribed by this unit. These should be used in the formal learning/assessment environment. Note: Where simulation is considered a suitable strategy for assessment, conditions must be authentic and as far as possible reproduce and replicate the workplace and be consistent with the approved industry simulation policy. |  |  |  |
|  | The resources used for assessment should reflect current industry practices in relation to performing cable system tests. |  |  |  |
| Method of assessment | 9.4) This unit shall be assessed by methods given in Volume 1, Part 3 'Assessment Guidelines'. Note: Competent performance with inherent safe working practices is expected in the Industry to which this unit applies. This requires assessment in a structured environment which is intended primarily for learning/assessment and incorporates all necessary equipment and facilities for learners to develop and demonstrate the essential knowledge and skills described in this unit. |  |  |  |
| Concurrent assessment and relationship with other units | 9.5) |  |  |  |
|  | There are no concurrent assessment recommendations for this unit. |  |  |  |

# Range Statement

| RANGE STATEMENT |  |
| --- | --- |
| 8) This relates to the unit as a whole providing the range of contexts and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance. |  |
| This unit shall be demonstrated in relation to: |  |
|  | The relevant State/Territory codes of practice and safe working requirements. Equipment relevant to a particular rail network. Code of practice for the defined interstate rail network. Testing and identifying at least five non-compliant test results. |
| Generic terms used throughout this Vocational Standard shall be regarded as part of the Range Statement in which competency is demonstrated. The definition of these and other terms that apply are given in Volume 2, Section 2.1. |  |

# Unit Sector(s)

Not Applicable

# Competency Field

| 2.2) Literacy and numeracy skills Participants are best equipped to achieve competency in this unit if they have reading, writing and numeracy skills indicated by the following scales. Description of each scale is given in Volume 2, Part 3 'Literacy and Numeracy' |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reading | 4 | Writing | 4 | Numeracy | 4 |

# Custom Content Section

| Competency Field | 5) |
| --- | --- |
|  | Rail |