# UEE60611 Advanced Diploma of Industrial Electronics and Control Engineering

Release 4

UEE60611 Advanced Diploma of Industrial Electronics and Control Engineering

# Modification History

| Release | Action | Core/Elective | Details | Points |
| --- | --- | --- | --- | --- |
| 2 | Edit |  | Edit Name to reflect correct Unit title UEENEED104A Use engineering applications software on personal computers |  |
| 2 | Edit |  | Edit Name to Reflect correct Unit Title UEENEEI124A Fault find and repair analogue circuits and components in electronic control systems |  |
| 2 | Edit |  | Edit Name to reflect correct Unit title UEENEEE117A Implement and monitor energy sector OHS policies and procedures |  |
| 2 | Edit |  | Edit Name to reflect correct Unit title UEENEEE124A Compile and produce an energy sector detailed report |  |
| 2 | Edit |  | Edit Name to reflect correct Unit title UEENEEK132A Develop strategies to address environmental and sustainability issues in the energy sector |  |

| 3 | Edit | Group B | Edit Name to reflect correct Unit title UEENEEI102A Solve problems in pressure measurement components and systems | 40 |
| --- | --- | --- | --- | --- |
| 3 | Edit | Group B | Edit Name to reflect correct Unit title UEENEEI103A Solve problems in density_level measurement components and systems | 40 |
| 3 | Edit | Group B | Edit Name to reflect correct Unit title UEENEEI104A Solve problems in flow measurement components and systems | 40 |
| 3 | Edit | Group B | Edit Name to reflect correct Unit title UEENEEI105A Solve problems in temperature measurement components and systems | 40 |
| 3 | Edit | Group C | Edit Name to reflect correct Unit title UEENEEI151A Develop, enter and verify word and analogue control programs for programmable logic controllers. | 60 |

| 4 | Edit | Core | Correct title of UEENEEI134A Manage instrumentation and control projects | 40 |
| --- | --- | --- | --- | --- |
| 4 | Edit | Core | Correct title of UEENEEI135A Plan instrumentation and control projects | 60 |
| 4 | Edit | Elective | Correct title of UEENEEE127A Use advanced computational processes to provide solutions to energy sector engineering problems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEE128A Develop engineering solutions to photonic system problems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEE161A Analyse static and dynamic parameters of electrical equipment | 80 |
| 4 | Edit | Elective | Correct title of UEENEEE162A Select drive components for electrical equipment design | 80 |
| 4 | Edit | Elective | Correct title of UEENEEE163A Analyse materials for suitability in electrical equipment | 80 |
| 4 | Edit | Elective | Correct title of UEENEEE192A Produce detailed electrotechnology /utilities drawings using computer aided design equipment and software | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG110A Find and repair faults in LV d.c. electrical apparatus and circuits | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG111A Carry out basic repairs to electrical components and equipment | 40 |
| 4 | Edit | Elective | Correct title of UEENEEG116A Diagnose and rectify faults in traction lift systems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEG119A Maintain operation of electrical marine equipment and systems | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG131A Evaluate performance of low voltage electrical apparatus | 40 |
| 4 | Edit | Elective | Correct title of UEENEEG132A Carry out low voltage electrical field testing and report findings | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG143A Develop engineering solution for synchronous machine and control problems | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG144A Develop engineering solutions for d.c. machine and control problems | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG145A Develop engineering solutions for induction machine and control problems | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG161A Design and develop modifications to LV electrical machines | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG168A Diagnose and rectify faults in complex lift systems | 40 |
| 4 | Edit | Elective | Correct title of UEENEEG177A Select low voltage power factor correction equipment | 40 |
| 4 | Edit | Elective | Correct title of UEENEEH102A Repairs basic electronic apparatus faults by replacement of components | 40 |
| 4 | Edit | Elective | Correct title of UEENEEH147A Assess electronic apparatus compliance | 60 |
| 4 | Edit | Elective | Correct title of UEENEEH150A Assemble and set up basic security systems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEH184A Modify digital signal processing (DSP) based sub-systems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEH185A Design signal-conditioning subsystems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEH188A Design and develop electronics - computer systems projects | 40 |
| 4 | Edit | Elective | Correct title of UEENEEI101A Use instrumentation drawings, specification, standards and equipment manuals | 40 |
| 4 | Edit | Elective | Correct title of UEENEEI103A Solve problems in density/level measurement components and systems | 40 |
| 4 | Edit | Elective | Correct title of UEENEEI116A Assemble, enter and verify operating instructions in microprocessor equipped devices | 20 |
| 4 | Edit | Elective | Correct title of UEENEEI119A Set up industrial field control devices | 60 |
| 4 | Edit | Elective | Correct title of UEENEEI123A Design electronic control systems | 60 |
| 4 | Edit | Elective | Correct title of UEENEEI126A Provide solutions to pneumatic-hydraulic system operations | 60 |
| 4 | Edit | Elective | Correct title of UEENEEI128A Set up and configure controls on complex fluid systems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEI148A Solve problems in single phase electronic power control circuits | 60 |
| 4 | Edit | Elective | Correct title of UEENEEI149A Solve problems in polyphase electronic power control circuits | 60 |
| 4 | Edit | Elective | Correct title of UEENEEI151A Develop, enter and verify word and analogue control programs for programmable logic controllers. | 60 |
| 4 | Edit | Elective | Correct title of UEENEEI154A Design and use advanced programming tools PC networks and HMI Interfacing | 120 |
| 4 | Edit | Elective | Correct title of UEENEEM039A Conduct testing of hazardous areas installations - gas atmospheres | 40 |
| 4 | Edit | Elective | Correct title of UEENEEM079A Design of gas detection systems | 20 |
| 4 | Edit | Elective | Correct title of UEENEEM080A Report on the integrity of explosion-protected equipment in a hazardous area | 20 |

# Description

Scope

This qualification provides competencies to design and validate/evaluate control equipment and systems, manage risk, estimate and manage projects and provide technical advice/sales.

# Pathways Information

Not applicable.

# Licensing/Regulatory Information

Not applicable.

# Entry Requirements

Not applicable.

# Employability Skills Summary

Not applicable.

# Packaging Rules

Completion requirements

The requirements for granting this qualification will be met when competency is demonstrated and achieved for:

All the Core competency standard units, defined in the Core Competency Standard Units table below and

A combination of Elective competency standard units to achieve a total weighting of 360 points in accordance with the Elective Competency Standard Units table below.

Note: UEENEEG105A - Those holding an ‘Unrestricted Electricians Licence or equivalent issued in an Australian State or Territory meets the requirements of this unit and its pre-requisite requirements.

| Core Competency Standard Units All Core competency standard units to be achieved |  | Weighting Points |
| --- | --- | --- |
| UEENEED104A | Use engineering applications software on personal computers | 40 |
| UEENEEE006B | Apply methods to maintain currency of industry developments | 20 |
| UEENEEE011C | Manage risk in electrotechnology activities | 60 |
| UEENEEE015B | Develop design briefs for electrotechnology projects | 40 |
| UEENEEE075B | Write specifications for industrial electronics and control projects | 40 |
| UEENEEE080A | Apply industry and community standards to engineering activities | 20 |
| UEENEEE081A | Apply material science to solving electrotechnology engineering problems | 60 |
| UEENEEE082A | Apply physics to solving electrotechnology engineering problems | 60 |
| UEENEEE083A | Establish and follow a competency development plan in an electrotechnology engineering discipline | 120 |
| UEENEEE101A | Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEE102A | Fabricate, assemble and dismantle utilities industry components | 40 |
| UEENEEE104A | Solve problems in d.c. circuits | 80 |
| UEENEEE105A | Fix and secure electrotechnology equipment | 20 |
| UEENEEE107A | Use drawings, diagrams, schedules, standards, codes and specifications | 40 |
| UEENEEE117A | Implement and monitor energy sector OHS policies and procedures | 20 |
| UEENEEE124A | Compile and produce an energy sector detailed report | 60 |
| UEENEEE125A | Provide engineering solutions for problems in complex multiple path circuits | 60 |
| UEENEEE126A | Provide solutions to basic engineering computational problems | 60 |
| UEENEEE137A | Document and apply measures to control OHS risks associated with electrotechnology work | 20 |
| UEENEEG006A | Solve problems in single and three phase low voltage machines | 80 |
| UEENEEG033A | Solve problems in single and three phase low voltage electrical apparatus and circuits | 60 |
| UEENEEG063A | Arrange circuits, control and protection for general electrical installations | 40 |
| UEENEEG101A | Solve problems in electromagnetic devices and related circuits | 60 |
| UEENEEG102A | Solve problems in low voltage a.c. circuits | 80 |
| UEENEEG103A | Install low voltage wiring and accessories | 20 |
| UEENEEG104A | Install appliances, switchgear and associated accessories for low voltage electrical installations | 20 |
| UEENEEG105A | Verify compliance and functionality of low voltage general electrical installations | 40 |
| UEENEEG106A | Terminate cables, cords and accessories for low voltage circuits | 40 |
| UEENEEG107A | Select wiring systems and cables for low voltage general electrical installations | 60 |
| UEENEEG108A | Trouble-shoot and repair faults in low voltage electrical apparatus and circuits | 40 |
| UEENEEG109A | Develop and connect electrical control circuits | 80 |
| UEENEEG149A | Provide engineering solutions to problems in complex polyphase power circuits | 60 |
| UEENEEI124A | Fault find and repair analogue circuits and components in electronic control systems | 60 |
| UEENEEI134A | Manage instrumentation and control projects | 40 |
| UEENEEI135A | Plan instrumentation and control projects | 60 |
| UEENEEI139A | Diagnose and rectify faults in digital controls systems | 60 |
| UEENEEK132A | Develop strategies to address environmental and sustainability issues in the energy sector | 20 |
| Total points in core |  | 1800 |

| Elective Competency Standard Units Complete Elective units to achieve a total of weighting of 360 points from the following groups: |  |  |  |
| --- | --- | --- | --- |
| Group |  | Minimum points | Maximum points |
| A | Imported and Common Elective Units Imported units from other training packages and/or state accredited courses can be added to this group, but they must be selected from qualifications where the unit is first packaged at AQF level 6. If units have not being assigned a weighting by the relevant EE-Oz Industry Technical Advisory Committee, their weighting will be 10 points. | 0 | 180 |
| B | Qualification Elective Units | 0 | 60 |
| C | Qualification Elective Units | 0 | 100 |
| D | Qualification Elective Units | 0 | 60 |
| E | Qualification Elective Units You may select all your elective units from this Group | 160 | 360 |

| Group A – Imported and Common Elective Units You may complete units to a maximum weighting of 180 |  | Weighting Points |
| --- | --- | --- |
| BSBMGT502B | Manage people performance | 70 |
| BSBINM501A | Manage an information or knowledge management system | 50 |
| BSBMGT516C | Facilitate continuous improvement | 60 |
| BSBINN502A | Build and sustain an innovative work environment | 50 |
| BSBWOR502B | Ensure team effectiveness | 60 |
|  | Imported units from other training packages and/or state accredited courses can be added to this group, but they must be selected from qualifications where the unit is first packaged at AQF level 6. If units have not being assigned a weighting by the relevant EE-Oz Industry Technical Advisory Committee, their weighting will be 10 points. Note: For further information see Application of the NQC Flexibility Formula, UEE11 Electrotechnology Training Package, Version 1, Volume 1 Qualification Framework | Up to 180 points |

| Group B – Qualification Elective Units You may complete units to a maximum weighting of 60 |  | Weighting Points |
| --- | --- | --- |
| UEENEEE190A | Prepare engineering drawings using manual drafting and CAD for electrotechnology/utilities applications | 60 |
| UEENEEE191A | Prepare electrotechnology/utilities drawings using manual drafting and CAD equipment and software | 60 |
| UEENEEG110A | Find and repair faults in LV d.c. electrical apparatus and circuits | 60 |
| UEENEEG111A | Carry out basic repairs to electrical components and equipment | 40 |
| UEENEEG116A | Diagnose and rectify faults in traction lift systems | 80 |
| UEENEEG118A | Maintain operation of electrical mining equipment and systems | 60 |
| UEENEEG119A | Maintain operation of electrical marine equipment and systems | 60 |
| UEENEEH102A | Repairs basic electronic apparatus faults by replacement of components | 40 |
| UEENEEH111A | Troubleshoot single phase input d.c. power supplies | 40 |
| UEENEEH150A | Assemble and set up basic security systems | 80 |
| UEENEEI101A | Use instrumentation drawings, specification, standards and equipment manuals | 40 |
| UEENEEI102A | Solve problems in pressure measurement components and systems | 40 |
| UEENEEI103A | Solve problems in density/level measurement components and systems | 40 |
| UEENEEI104A | Solve problems in flow measurement components and systems | 40 |
| UEENEEI105A | Solve problems in temperature measurement components and systems | 40 |
| UEENEEI116A | Assemble, enter and verify operating instructions in microprocessor equipped devices | 20 |
| UEENEEI138A | Provide solutions to extra low voltage (ELV) electro-pneumatic control systems and drives | 60 |
| UEENEEI150A | Develop, enter and verify discrete control programs for programmable controllers | 60 |
| UEENEEM019A | Attend to breakdowns in hazardous areas — coal mining | 20 |
| UEENEEM020A | Attend to breakdowns in hazardous areas — gas atmospheres | 20 |
| UEENEEM021A | Attend to breakdowns in hazardous areas — dust atmospheres | 20 |
| UEENEEM022A | Attend to breakdowns in hazardous areas — pressurisation | 20 |
| UEENEEM027A | Maintain equipment in hazardous areas — coal mining | 60 |
| UEENEEM028A | Maintain equipment in hazardous areas — gas atmospheres | 60 |
| UEENEEM029A | Maintain equipment in hazardous areas — dust atmospheres | 60 |
| UEENEEM030A | Maintain equipment in hazardous areas — pressurisation | 60 |
| UEENEEM038A | Conduct testing of hazardous areas installations — coal mining | 40 |
| UEENEEM080A | Report on the integrity of explosion-protected equipment in a hazardous area | 20 |

| Group C – Qualification Elective Units You may complete units to a maximum weighting of 100 |  | Weighting Points |
| --- | --- | --- |
| UEENEEC005B | Estimate electrotechnology projects | 40 |
| UEENEEE192A | Produce detailed electrotechnology /utilities drawings using computer aided design equipment and software | 60 |
| UEENEEG132A | Carry out low voltage electrical field testing and report findings | 60 |
| UEENEEG162A | Set up and place LV electrical apparatus and associated circuits into service | 40 |
| UEENEEG168A | Diagnose and rectify faults in complex lift systems | 40 |
| UEENEEG177A | Select low voltage power factor correction equipment | 40 |
| UEENEEG179A | Develop detailed electrical drawings | 60 |
| UEENEEI119A | Set up industrial field control devices | 60 |
| UEENEEI120A | Provide solutions to problems in industrial control systems | 60 |
| UEENEEI125A | Provide solutions to fluid circuit operations | 60 |
| UEENEEI126A | Provide solutions to pneumatic-hydraulic system operations | 80 |
| UEENEEI148A | Solve problems in single phase electronic power control circuits | 60 |
| UEENEEI149A | Solve problems in polyphase electronic power control circuits | 60 |
| UEENEEI151A | Develop, enter and verify word and analogue control programs for programmable logic controllers. | 60 |
| UEENEEI152A | Develop, enter and verify programs in Supervisory Control and Data Acquisition systems | 60 |
| UEENEEI155A | Develop structured programs to control external devices | 40 |
| UEENEEM039A | Conduct testing of hazardous areas installations - gas atmospheres | 40 |
| UEENEEM042A | Conduct visual inspection of hazardous areas installations | 40 |
| UEENEEM044A | Conduct detailed inspection of hazardous areas installations — gas atmospheres | 40 |
| UEENEEM047A | Develop and manage maintenance programs for hazardous areas electrical equipment — coal mining | 20 |
| UEENEEM078A | Manage compliance of hazardous areas | 20 |

| Group D – Qualification Elective Units You may complete units to a maximum weighting of 60 |  | Weighting Points |
| --- | --- | --- |
| UEENEEC006B | Prepare tender submissions for electrotechnology projects | 60 |
| UEENEEE110A | Develop and implement energy sector maintenance programs | 60 |
| UEENEEG131A | Evaluate performance of low voltage electrical apparatus | 40 |
| UEENEEG180A | Develop detailed and complex drawings for electrical systems using CAD systems | 60 |
| UEENEEI127A | Analyse complex electronic circuits controlling fluids | 80 |
| UEENEEI145A | Diagnose and rectify faults in a.c. motor drive systems | 60 |
| UEENEEI146A | Diagnose and rectify faults in d.c. motor drive systems | 60 |
| UEENEEI147A | Diagnose and rectify faults in servo drive systems | 60 |
| UEENEEI156A | Develop and test code for microcontroller devices | 60 |
| UEENEEI157A | Configure and maintain industrial control system networks | 60 |
| UEENEEM035A | Conduct a conformity assessment of explosion-protected equipment — coal mining | 40 |
| UEENEEM036A | Conduct a conformity assessment of explosion-protected equipment — gas atmospheres | 40 |
| UEENEEM037A | Conduct a conformity assessment of explosion-protected equipment — dust atmospheres | 40 |
| UEENEEM054A | Plan electrical installations for hazardous areas — gas atmospheres | 20 |
| UEENEEM064A | Conduct audit of hazardous areas installations — coal mining | 60 |
| UEENEEM065A | Conduct audit of hazardous areas installations — gas atmospheres | 60 |
| UEENEEM066A | Conduct audit of hazardous areas installations — dust atmospheres | 60 |
| UEENEEM067A | Assess the fitness-for-purpose of hazardous areas explosion-protected equipment — coal mining | 60 |
| UEENEEM068A | Assess the fitness-for-purpose of hazardous areas explosion-protected equipment — gas atmospheres | 60 |
| UEENEEM069A | Assess the fitness-for-purpose of hazardous areas explosion-protected equipment — dust atmospheres | 60 |

| Group E – Qualification Elective Units You must complete units to a minimum weighting of 160 You may select all your elective units from this Group |  | Weighting Points |
| --- | --- | --- |
| UEENEEC007B | Manage contract variations | 40 |
| UEENEEE127A | Use advanced computational processes to provide solutions to energy sector engineering problems | 80 |
| UEENEEE128A | Develop engineering solutions to photonic system problems | 80 |
| UEENEEE160A | Provide engineering solutions for uses of materials and thermodynamic effects | 80 |
| UEENEEE161A | Analyse static and dynamic parameters of electrical equipment | 80 |
| UEENEEE162A | Select drive components for electrical equipment design | 80 |
| UEENEEE163A | Analyse materials for suitability in electrical equipment | 80 |
| UEENEEE164A | Design electrical machine drives and production layout plans | 80 |
| UEENEEE078B | Contribute to risk management in electrotechnology systems | 20 |
| UEENEEG143A | Develop engineering solution for synchronous machine and control problems | 60 |
| UEENEEG144A | Develop engineering solutions for d.c. machine and control problems | 60 |
| UEENEEG145A | Develop engineering solutions for induction machine and control problems | 60 |
| UEENEEG160A | Evaluate performance of LV electrical machines | 40 |
| UEENEEG161A | Design and develop modifications to LV electrical machines | 60 |
| UEENEEH147A | Assess electronic apparatus compliance | 60 |
| UEENEEH184A | Modify digital signal processing (DSP) based sub-systems | 80 |
| UEENEEH185A | Design signal-conditioning subsystems | 80 |
| UEENEEH188A | Design and develop electronics - computer systems projects | 40 |
| UEENEEI123A | Design electronic control systems | 60 |
| UEENEEI128A | Set up and configure controls on complex fluid systems | 80 |
| UEENEEI129A | Set up electronically controlled mechanically operated complex systems | 80 |
| UEENEEI130A | Set up electronically controlled robotically operated complex systems | 80 |
| UEENEEI153A | Design and configure Human-Machine Interface (HMI) networks | 60 |
| UEENEEI154A | Design and use advanced programming tools PC networks and HMI Interfacing | 120 |
| UEENEEM052A | Classify hazardous areas — gas atmospheres | 40 |
| UEENEEM053A | Classify hazardous areas — dust atmospheres | 40 |
| UEENEEM057A | Design explosion-protected electrical systems and installations — gas atmospheres | 20 |
| UEENEEM058A | Design explosion-protected electrical systems and installations — dust atmospheres | 20 |
| UEENEEM059A | Design explosion-protected electrical systems and installations — pressurisation | 20 |
| UEENEEM075A | Design explosion-protected electrical systems — Coal mining | 20 |
| UEENEEM079A | Design of gas detection systems | 20 |

Note: 
1. Pre-requisite pathways shall be identified and met for all elective units selected.

2. In selecting elective units considerations to career planning advice should be given to units that form part of a pre-requisite pathway for the progression to achieve particular competencies or qualification at a higher level.

3. Registered training organisations shall also provide information related to the relevant pathway(s) that may be taken to achieve paraprofessional status ("associate membership") with a professional engineering membership organisation.

END OF QUALIFICATION

# Custom Content Section

Not applicable.