# UEE62111 Advanced Diploma of Engineering Technology - Electrical

Release 4

UEE62111 Advanced Diploma of Engineering Technology - Electrical

# Modification History

| Release | Action | Core/Elective | Details | Points |
| --- | --- | --- | --- | --- |
| 2 | Edit |  | Edit Name to reflect correct Unit title UEENEED104A Use engineering applications software on personal computers |  |
| 2 | Edit |  | Edit Name to reflect correct Unit title UEENEEI151A Develop, enter and verify word and analogue control programs for programmable logic controllers. |  |
| 2 | Edit |  | Edit Name to reflect correct Unit title UEENEEI154A Design and use advanced programming tools PC networks and HMI Interfacing |  |
| 2 | Edit |  | Edit Name to reflect correct Unit title UEENEEG145A Develop engineering solutions for induction machine and control problems |  |
| 2 | Edit |  | Edit Name to reflect correct Unit title UEENEEE117A Implement and monitor energy sector OHS policies and procedures |  |
| 2 | Edit |  | Edit Name to reflect correct Unit title UEENEEE124A Compile and produce an energy sector detailed report |  |
| 2 | Edit |  | Edit Name to reflect correct Unit title UEENEEK132A Develop strategies to address environmental and sustainability issues in the energy sector |  |

| 3 | Edit | Group C | Edit Name to reflect correct Unit title UEENEEI151A Develop, enter and verify word and analogue control programs for programmable logic controllers. | 60 |
| --- | --- | --- | --- | --- |

| 4 | Edit | Core | Correct title of UEENEEE125A - Provide engineering solutions for problems in complex multiple path circuits | 60 |
| --- | --- | --- | --- | --- |
| 4 | Edit | Elective | Correct title of UEENEED101A - Use computer applications relevant to a workplace | 20 |
| 4 | Edit | Elective | Correct title of UEENEEE121A - Plan an integrated cabling installation system | 40 |
| 4 | Edit | Elective | Correct title of UEENEEE127A Use advanced computational processes to provide solutions to energy sector engineering problems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEE128A Develop engineering solutions to photonic system problems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEE161A Analyse static and dynamic parameters of electrical equipment | 80 |
| 4 | Edit | Elective | Correct title of UEENEEE162A Select drive components for electrical equipment design | 80 |
| 4 | Edit | Elective | Correct title of UEENEEE163A Analyse materials for suitability in electrical equipment | 80 |
| 4 | Edit | Elective | Correct title of UEENEEG111A Carry out basic repairs to electrical components and equipment | 40 |
| 4 | Edit | Elective | Correct title of UEENEEG120A Select and arrange equipment for special LV electrical installations | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG125A Plan electrical installations with a low voltage demand up to 400 A per phase | 40 |
| 4 | Edit | Elective | Correct title of UEENEEG127A Design electrical installations with a low voltage demand greater than 400 A per phase | 40 |
| 4 | Edit | Elective | Correct title of UEENEEG128A Plan low voltage switchboard and control panel layouts | 40 |
| 4 | Edit | Elective | Correct title of UEENEEG130A Design switchboards rated for high fault levels (greater than 400 A) | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG131A Evaluate performance of low voltage electrical apparatus | 40 |
| 4 | Edit | Elective | Correct title of UEENEEG143A Develop engineering solution for synchronous machine and control problems | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG144A Develop engineering solutions for d.c. machine and control problems | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG161A Design and develop modifications to LV electrical machines | 60 |
| 4 | Edit | Elective | Correct title of UEENEEG185A Select effective and efficient light sources and luminaries for given locations and designs | 60 |
| 4 | Edit | Elective | Correct title of UEENEEH102A Repairs basic electronic apparatus faults by replacement of components | 40 |
| 4 | Edit | Elective | Correct title of UEENEEH147A Assess electronic apparatus compliance | 60 |
| 4 | Edit | Elective | Correct title of UEENEEH150A Assemble and set up basic security systems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEH184A Modify digital signal processing (DSP) based sub-systems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEH185A Design signal-conditioning subsystems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEH188A Design and develop electronics - computer systems projects | 40 |
| 4 | Edit | Elective | Correct title of UEENEEI101A Use instrumentation drawings, specification, standards and equipment manuals | 40 |
| 4 | Edit | Elective | Correct title of UEENEEI116A Assemble, enter and verify operating instructions in microprocessor equipped devices | 20 |
| 4 | Edit | Elective | Correct title of UEENEEI123A Design electronic control systems | 60 |
| 4 | Edit | Elective | Correct title of UEENEEI128A Set up and configure controls on complex fluid systems | 80 |
| 4 | Edit | Elective | Correct title of UEENEEK131A Design wind energy conversion systems (WECS) rated to 10 kW | 60 |
| 4 | Edit | Elective | Correct title of UEENEEK135A Design grid connected photovoltaic power supply systems | 60 |
| 4 | Edit | Elective | Correct title of UEENEEK138A Design micro-hydro systems rated to 6.4 kW | 60 |
| 4 | Edit | Elective | Correct title of UEENEEK139A Design stand-alone renewable energy (RE) systems | 40 |
| 4 | Edit | Elective | Correct title of UEENEEK140A Develop engineering solutions to renewable energy (RE) problems | 60 |
| 4 | Edit | Elective | Correct title of UEENEEK146A Design energy management controls for electrical installations in buildings | 80 |
| 4 | Edit | Elective | Correct title of UEENEEK151A Develop effective engineering strategies for energy reduction in buildings | 60 |
| 4 | Edit | Elective | Correct title of UEENEEM079A Design of gas detection systems | 20 |

# Description

Scope

This qualification provides enabling competencies to design and validate/evaluate electrical equipment and systems and provide technical advice/sales.

# Pathways Information

Not applicable.

# Licensing/Regulatory Information

Not applicable.

# Entry Requirements

Not applicable.

# Employability Skills Summary

Not applicable.

# Packaging Rules

Completion requirements

The requirements for granting this qualification will be met when competency is demonstrated and achieved for:

All the Core competency standard units, defined in the Core Competency Standard Units table below and

A combination of Elective competency standard units to achieve a total weighting of 720 points in accordance with the Elective Competency Standard Units table below.

| Core Competency Standard Units All Core competency standard units to be achieved |  | Weighting Points |
| --- | --- | --- |
| UEENEED104A | Use engineering applications software on personal computers | 40 |
| UEENEEE011C | Manage risk in electrotechnology activities | 60 |
| UEENEEE015B | Develop design briefs for electrotechnology projects | 40 |
| UEENEEE071B | Write specifications for electrical engineering projects | 40 |
| UEENEEE080A | Apply industry and community standards to engineering activities | 20 |
| UEENEEE081A | Apply material science to solving electrotechnology engineering problems | 60 |
| UEENEEE082A | Apply physics to solving electrotechnology engineering problems | 60 |
| UEENEEE083A | Establish and follow a competency development plan in an electrotechnology engineering discipline | 120 |
| UEENEEE101A | Apply Occupational Health and Safety regulations, codes and practices in the workplace | 20 |
| UEENEEE102A | Fabricate, assemble and dismantle utilities industry components | 40 |
| UEENEEE104A | Solve problems in d.c. circuits | 80 |
| UEENEEE107A | Use drawings, diagrams, schedules, standards, codes and specifications | 40 |
| UEENEEE117A | Implement and monitor energy sector OHS policies and procedures | 20 |
| UEENEEE124A | Compile and produce an energy sector detailed report | 60 |
| UEENEEE125A | Provide engineering solutions for problems in complex multiple path circuits | 60 |
| UEENEEE126A | Provide solutions to basic engineering computational problems | 60 |
| UEENEEE137A | Document and apply measures to control OHS risks associated with electrotechnology work | 20 |
| UEENEEG006A | Solve problems in single and three phase low voltage machines | 80 |
| UEENEEG033A | Solve problems in single and three phase low voltage electrical apparatus and circuits | 60 |
| UEENEEG063A | Arrange circuits, control and protection for general electrical installations | 40 |
| UEENEEG101A | Solve problems in electromagnetic devices and related circuits | 60 |
| UEENEEG102A | Solve problems in low voltage a.c. circuits | 80 |
| UEENEEG106A | Terminate cables, cords and accessories for low voltage circuits | 40 |
| UEENEEG107A | Select wiring systems and cables for low voltage general electrical installations | 60 |
| UEENEEG149A | Provide engineering solutions to problems in complex polyphase power circuits | 60 |
| UEENEEG169A | Manage large electrical projects | 40 |
| UEENEEG170A | Plan large electrical projects | 60 |
| UEENEEK132A | Develop strategies to address environmental and sustainability issues in the energy sector | 20 |
| Total points in core |  | 1440 |

| Elective Competency Standard Units Complete Elective units to achieve a total of weighting of 720 points from the following groups: |  |  |  |
| --- | --- | --- | --- |
| Group |  | Minimum points | Maximum points |
| A | Imported and Common Elective Units Imported units from other training packages and/or state accredited courses can be added to this group, but they must be selected from qualifications where the unit is first packaged at AQF level 6. If units have not being assigned a weighting by the relevant EE-Oz Industry Technical Advisory Committee, their weighting will be 10 points. | 0 | 360 |
| B | Qualification Elective Units | 0 | 160 |
| C | Qualification Elective Units | 0 | 220 |
| D | Qualification Elective Units | 0 | 220 |
| E | Qualification Elective Units You may select all your elective units from this Group | 200 | 720 |

| Group A – Imported and Common Elective Units You may complete units to a maximum weighting of 360 |  | Weighting Points |
| --- | --- | --- |
| BSBINM501A | Manage an information or knowledge management system | 50 |
| BSBINN502A | Build and sustain an innovative work environment | 50 |
| BSBMGT502B | Manage people performance | 70 |
| BSBMGT516C | Facilitate continuous improvement | 60 |
| BSBWOR502B | Ensure team effectiveness | 60 |
| UEENEEC001B | Maintain documentation | 20 |
| UEENEEC002B | Source and purchase material/parts for installation or service jobs | 20 |
| UEENEEC003B | Provide quotations for installation or service jobs | 20 |
| UEENEEC010B | Deliver a service to customers | 20 |
| UEENEED101A | Use computer applications relevant to a workplace | 20 |
| UEENEEE020B | Provide basic instruction in the use of electrotechnology apparatus | 20 |
|  | Imported units from other training packages and/or state accredited courses can be added to this group, but they must be selected from qualifications where the unit is first packaged at AQF level 6. If units have not being assigned a weighting by the relevant EE-Oz Industry Technical Advisory Committee, their weighting will be 10 points. Note: For further information see Application of the NQC Flexibility Formula, UEE11 Electrotechnology Training Package, Version 1, Volume 1 Qualification Framework | Up to 360 points |

| Group B – Qualification Elective Units You may complete units to a maximum weighting of 160 |  | Weighting Points |
| --- | --- | --- |
| UEENEEE105A | Fix and secure electrotechnology equipment | 20 |
| UEENEEE121A | Plan an integrated cabling installation system | 40 |
| UEENEEE190A | Prepare engineering drawings using manual drafting and CAD for electrotechnology/utilities applications | 60 |
| UEENEEE191A | Prepare electrotechnology/utilities drawings using manual drafting and CAD equipment and software | 60 |
| UEENEEF102A | Install and maintain cabling for multiple access to telecommunication services | 120 |
| UEENEEF104A | Install and modify performance data communication copper cabling | 40 |
| UEENEEG111A | Carry out basic repairs to electrical components and equipment | 40 |
| UEENEEG120A | Select and arrange equipment for special LV electrical installations | 60 |
| UEENEEG181A | Provide advice on effective and energy efficient lighting products | 20 |
| UEENEEG182A | Supply effective and efficient lighting products for domestic and small commercial applications | 40 |
| UEENEEG183A | Provide advice on the application of energy efficient lighting for ambient and aesthetic effect | 20 |
| UEENEEH102A | Repairs basic electronic apparatus faults by replacement of components | 40 |
| UEENEEH111A | Troubleshoot single phase input d.c. power supplies | 40 |
| UEENEEH150A | Assemble and set up basic security systems | 80 |
| UEENEEI101A | Use instrumentation drawings, specification, standards and equipment manuals | 40 |
| UEENEEI116A | Assemble, enter and verify operating instructions in microprocessor equipped devices | 20 |
| UEENEEI138A | Provide solutions to extra low voltage (ELV) electro-pneumatic control systems and drives | 60 |
| UEENEEI140A | Plan the electrical installation of integrated systems | 20 |
| UEENEEI141A | Develop electrical integrated systems | 20 |
| UEENEEI150A | Develop, enter and verify discrete control programs for programmable controllers | 60 |
| UEENEEK125A | Solve basic problems in photovoltaic energy apparatus and systems | 20 |
| UETTDRIS67A | Solve problems in energy supply network equipment | 80 |
| UETTDRIS68A | Solve problems in energy supply network protection equipment and systems | 40 |

| Group C – Qualification Elective Units You may complete units to a maximum weighting of 220 |  | Weighting Points |
| --- | --- | --- |
| UEENEEC005B | Estimate electrotechnology projects | 40 |
| UEENEEG125A | Plan electrical installations with a low voltage demand up to 400 A per phase | 40 |
| UEENEEG128A | Plan low voltage switchboard and control panel layouts | 40 |
| UEENEEG179A | Develop detailed electrical drawings | 60 |
| UEENEEG184A | Provide photometric data for illumination system design | 60 |
| UEENEEG185A | Select effective and efficient light sources and luminaries for given locations and designs | 60 |
| UEENEEG186A | Design effective and efficient lighting for residential and commercial buildings | 20 |
| UEENEEG188A | Prepare quotations for the supply of effective and efficient lighting products for lighting projects | 20 |
| UEENEEI142A | Develop an electrical integrated system interface for access through a touch screen | 20 |
| UEENEEI143A | Develop access control of electrical integrated systems using logic-based programming tools | 20 |
| UEENEEI144A | Develop interfaces for multiple access methods to monitor, schedule and control an electrical integrated system | 20 |
| UEENEEI151A | Develop, enter and verify word and analogue control programs for programmable logic controllers. | 60 |
| UEENEEI152A | Develop, enter and verify programs in Supervisory Control and Data Acquisition systems | 60 |
| UEENEEI155A | Develop structured programs to control external devices | 40 |
| UEENEEK135A | Design grid connected photovoltaic power supply systems | 60 |

| Group D – Qualification Elective Units You may complete units to a maximum weighting of 220 |  | Weighting Points |
| --- | --- | --- |
| UEENEEC006B | Prepare tender submissions for electrotechnology projects | 60 |
| UEENEEE110A | Develop and implement energy sector maintenance programs | 60 |
| UEENEED147A | Develop energy sector directory services | 80 |
| UEENEEG127A | Design electrical installations with a low voltage demand greater than 400 A per phase | 40 |
| UEENEEG131A | Evaluate performance of low voltage electrical apparatus | 40 |
| UEENEEG180A | Develop detailed and complex drawings for electrical systems using CAD systems | 60 |
| UEENEEG187A | Design effective and efficient lighting for public, open and sports areas | 20 |
| UEENEEI145A | Diagnose and rectify faults in a.c. motor drive systems | 60 |
| UEENEEI146A | Diagnose and rectify faults in d.c. motor drive systems | 60 |
| UEENEEI147A | Diagnose and rectify faults in servo drive systems | 60 |
| UEENEEI156A | Develop and test code for microcontroller devices | 60 |
| UEENEEI157A | Configure and maintain industrial control system networks | 60 |
| UEENEEK129A | Design renewable energy (RE) heating systems | 120 |
| UEENEEK131A | Design wind energy conversion systems (WECS) rated to 10 kW | 60 |
| UEENEEK138A | Design micro-hydro power systems | 60 |
| UETTDRIS70A | Diagnose and rectify faults in electrical energy distribution systems | 60 |
| UETTDRIS71A | Diagnose and rectify faults in electrical energy supply transmission systems | 60 |
| UETTDRIS72A | Diagnose and rectify faults in distributed Generation systems | 60 |

| Group E – Qualification Elective Units You must complete units to a minimum weighting of 200 You may select all your elective units from this Group |  | Weighting Points |
| --- | --- | --- |
| UEENEEC007B | Manage contract variations | 40 |
| UEENEEE078B | Contribute to risk management in electrotechnology systems | 20 |
| UEENEEE127A | Use advanced computational processes to provide solutions to energy sector engineering problems | 80 |
| UEENEEE128A | Develop engineering solutions to photonic system problems | 80 |
| UEENEED149A | Develop energy sector computer network applications infrastructure | 80 |
| UEENEEE160A | Provide engineering solutions for uses of materials and thermodynamic effects | 80 |
| UEENEEE161A | Analyse static and dynamic parameters of electrical equipment | 80 |
| UEENEEE162A | Select drive components for electrical equipment design | 80 |
| UEENEEE163A | Analyse materials for suitability in electrical equipment | 80 |
| UEENEEE164A | Design electrical machine drives and production layout plans | 80 |
| UEENEEG130A | Design switchboards rated for high fault levels (greater than 400 A) | 60 |
| UEENEEG143A | Develop engineering solution for synchronous machine and control problems | 60 |
| UEENEEG144A | Develop engineering solutions for d.c. machine and control problems | 60 |
| UEENEEG145A | Develop engineering solutions for induction machine and control problems | 60 |
| UEENEEG160A | Evaluate performance of LV electrical machines | 40 |
| UEENEEG161A | Design and develop modifications to LV electrical machines | 60 |
| UEENEEH147A | Assess electronic apparatus compliance | 60 |
| UEENEEH184A | Modify digital signal processing (DSP) based sub-systems | 80 |
| UEENEEH185A | Design signal-conditioning subsystems | 80 |
| UEENEEH188A | Design and develop electronics - computer systems projects | 40 |
| UEENEEI123A | Design electronic control systems | 60 |
| UEENEEI128A | Set up and configure controls on complex fluid systems | 80 |
| UEENEEI129A | Set up electronically controlled mechanically operated complex systems | 80 |
| UEENEEI130A | Set up electronically controlled robotically operated complex systems | 80 |
| UEENEEI153A | Design and configure Human-Machine Interface (HMI) networks | 60 |
| UEENEEI154A | Design and use advanced programming tools PC networks and HMI Interfacing | 120 |
| UEENEEK133A | Design hybrid renewable power systems | 80 |
| UEENEEK139A | Design stand-alone renewable energy (RE) systems | 40 |
| UEENEEK140A | Develop engineering solutions to renewable energy (RE) problems | 60 |
| UEENEEK146A | Design energy management controls for electrical installations in buildings | 80 |
| UEENEEK151A | Develop effective engineering strategies for energy reduction in buildings | 60 |
| UEENEEM052A | Classify hazardous areas — gas atmospheres | 40 |
| UEENEEM053A | Classify hazardous areas — dust atmospheres | 40 |
| UEENEEM057A | Design explosion-protected electrical systems and installations — gas atmospheres | 20 |
| UEENEEM058A | Design explosion-protected electrical systems and installations — dust atmospheres | 20 |
| UEENEEM059A | Design explosion-protected electrical systems and installations — pressurisation | 20 |
| UEENEEM068A | Assess the fitness-for-purpose of hazardous areas explosion-protected equipment — gas atmospheres | 60 |
| UEENEEM075A | Design explosion-protected electrical systems — Coal mining | 20 |
| UEENEEM079A | Design of gas detection systems | 20 |
| UETTDRIS73A | Develop engineering solutions for energy supply power transformer problems | 60 |
| UETTDRIS74A | Develop engineering solutions for energy supply system protection problems | 60 |

Note: 
1. Pre-requisite pathways shall be identified and met for all elective units selected.

2. In selecting elective units considerations to career planning advice should be given to units that form part of a pre-requisite pathway for the progression to achieve particular competencies or qualification at a higher level.

3. Registered training organisations shall also provide information related to the relevant pathway(s) that may be taken to achieve paraprofessional status ("associate membership") with a professional engineering membership organisation.

END OF QUALIFICATION

# Custom Content Section

Not applicable.