# UEENEEE148A Carry out routine work activities in an energy sector environment

Release: 2

UEENEEE148A Carry out routine work activities in an energy sector environment

# Modification History

Not applicable.

# Unit Descriptor

| Unit Descriptor | 1) Scope: |
| --- | --- |
|  | 1.1) Descriptor |
|  | This unit covers undertake scheduled routine work activities in the energy sector in an agreed time, to a quality standard and with a minimum of waste It encompasses working safely, applying knowledge of carrying out routine work activities in electrotechnology environments. |

# Application of the Unit

| Application of the Unit | 2) |
| --- | --- |
|  | This competency standard is suitable for employment-based programs under an approved contract of training at the AQF level of the qualification in which the unit is first packaged or higher. The unit may be selected as an elective from the relevant schedule (see qualification packaging rules) provided that all prerequisite units are undertaken or addressed through recognition processes. This unit may be included in a skill set provided that it is listed in the schedule of electives (see Qualification Framework) and all prerequisite units are undertaken or addressed through recognition processes. Delivery and assessment of this unit should be undertaken within regard to the requirements of License to Practice (1.2 above), Prerequisite Competencies and Literacy and Numeracy skills (2 above) and the recommendations for concurrent assessment and relationship with other units (9.5 below). Practice in the workplace and during training is also subject to regulations directly related to occupational health and safety and where applicable contracts of training such as apprenticeships. Note: 1. Compliance with permits may be required in various jurisdictions and typically relates to the operation of plant, machinery and equipment such as elevating work platforms, powder operated fixing tools, power operated tools, vehicles, road signage and traffic control and lifting equipment. Permits may also be required for some work environments such as confined spaces, working aloft, near live electrical apparatus and site rehabilitation. 2. Compliance may be required in various jurisdictions relating to currency in First Aid, confined space, lifting, risk safety measures etc. |

# Licensing/Regulatory Information

| License to practice | 3) |
| --- | --- |
|  | The skills and knowledge described in this unit do not require a license to practice in the workplace. However practice in this unit is subject to regulations directly related to occupational health and safe and contracts of training such as new apprenticeships. Note: 1. Compliance with permits may be required in various jurisdictions and typically relates to the operation of plant, machinery and equipment such as elevating work platforms, powder operated fixing tools, and power operated tools, vehicles, road signage and traffic control, lifting equipment. Permits may also be required for some work environments such as confined spaces, working aloft, near live electrical apparatus and site rehabilitation. 2. Compliance may be required in various jurisdictions relating to currency in First Aid, confined space, lifting and risk safety measures. |

# Pre-Requisites

| Prerequisite Unit(s) | 4) |  |
| --- | --- | --- |
| Competencies | 4.1) |  |
|  | Granting competency in this unit shall be made only after competency in the following unit(s) has/have been confirmed. |  |
|  | UEENEEE101A | Apply Occupational Health and Safety regulations, codes and practices in the workplace |

| Literacy and numeracy skills | 4.2) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Participants are best equipped to achieve competency in this unit if they have reading, writing and numeracy skills indicated by the following scales. Description of each scale is given in Volume 2, Part 3 ‘Literacy and Numeracy’ |  |  |  |  |  |
|  | Reading | 3 | Writing | 3 | Numeracy | 3 |

# Employability Skills Information

| Employability Skills | 5) |
| --- | --- |
|  | This unit contains Employability Skills The required outcomes described in this unit of competency contain applicable facets of Employability Skills. The Employability Skills Summary of the qualification in which this unit of competency is packaged will assist in identifying Employability Skill requirements. |

# Elements and Performance Criteria Pre-Content

| 6) Elements describe the essential outcomes of a competency standard unit | Performance Criteria describe the required performance needed to demonstrate achievement of the element. Assessment of performance is to be consistent with the Evidence Guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT |  | PERFORMANCE CRITERIA |  |  |
| --- | --- | --- | --- | --- |
| 1 | Prepare to undertake routine work activities. | 1.1 | Instructions for preparing the work activity are communicated and confirmed to ensure clear understanding. |
|  |  | 1.2 | OHS policies and procedures are communicated and confirmed to ensure they are understood as they apply to the carrying out of the work. |
|  |  | 1.3 | Tools, equipment and personnel protective equipment necessary for the work are identified, scheduled and checked to ensure they work correctly as intended and are safe to use in accordance with established procedures. |
|  |  | 1.4 | Appropriate personnel are consulted to ensure the work is coordinated effectively with others involved. |
|  |  | 1.5 | Resources and materials needed to do the work are confirmed, scheduled and obtained in accordance with established procedures. |
|  |  | 1.6 | Schedule of work including practices for working safely are confirmed in accordance with instructions and requirements. |
| 2 | Carry out work as instructed. | 2.1 | OHS policies and procedures and safe work practices are followed to eliminate or minimise incidents. |
|  |  | 2.2 | Schedule of work is followed to ensure work is completed in an agreed time, to a quality standard and with a minimum of waste. |
|  |  | 2.3 | Knowledge of electrotechnology practices and electrical principles are applied to routine work activities. |
|  |  | 2.4 | Further instructions are sought from appropriate personnel in the event of unplanned happenings or conditions. |
|  |  | 2.5 | Ongoing checks of work quality are undertaken in accordance with instructions and requirements. |
| 3 | Check results of the completed work. | 3.1 | Final checks are made to ensure the work conforms with instructions and to requirements. |
|  |  | 3.2 | Appropriate personnel are notified of completion of the work. |
|  |  | 3.3 | Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures. |
|  |  | 3.4 | Work area is cleaned up and made safe and sustainable energy practices are followed. |
|  |  | 3.5 | Appropriate records are updated in accordance with instructions and established procedures. |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

8) This describes the essential skills and knowledge and their level, required for this unit. Evidence shall show that knowledge has been acquired of safe working practices and carrying out routine work activities in an electrotechnology environment. All knowledge and skills detailed in this unit should be contextualised to current industry practices and technologies. KS01-EE148A Energy sector organisations and practises Evidence shall show an understanding of energy sector industry organisations and practices to an extent indicated by the following aspects: T1 Energy sector vocations encompassing: Electrical Electronics and communications Computer Systems Data Communication Refrigeration and Air Conditioning Instrumentation and Control Rail signalling Lifts Electricity supply – generation, transmission and distribution Gas industry T2 Career paths in energy sector encompassing: Australian Qualification Framework (AQF) Qualifications/Classifications Scope of work-installation, maintenance and servicing T3 Training in energy sector vocations encompassing: Traineeships, apprenticeships Licensed Electrician minimum requirements Career advancements T4 Industry Organisations encompassing: Employers – NECA, ECA, ME, ENA EE-Oz Training Standards and EE-Oz State/Territory Network Employee – Trade union group (CEPU, ETU) Government - ITABs, TAFE, RTO, ERAC Private providers T5 Qualification Requirements encompassing: Unit of competency Qualification assessments T6 Policies and Practices in energy sector industry encompassing: Licensing requirements OH&S requirements Awards T7 Job application encompassing: Research Writing Methods of application T8 Job interview encompassing: Preparation Presentation Evaluation

# Evidence Guide

EVIDENCE GUIDE

9) The evidence guide provides advice on assessment and must be read in conjunction with the Performance Criteria, Required Skills and Knowledge, the Range Statement and the Assessment Guidelines for this Training Package. The Evidence Guide forms an integral part of this unit. It must be used in conjunction with all parts of the unit and performed in accordance with the Assessment Guidelines of this Training Package.

| Overview of Assessment | 9.1) |
| --- | --- |
|  | Longitudinal competency development approaches to assessment, such as Profiling, require data to be reliably gathered in a form that can be consistently interpreted over time. This approach is best utilised in Apprenticeship programs and reduces assessment intervention. It is the industry-preferred model for apprenticeships. However, where summative (or final) assessment is used it is to include the application of the competency in the normal work environment or, at a minimum, the application of the competency in a realistically simulated work environment. It is recognised that, in some circumstances, assessment in part or full can occur outside the workplace. However, it must be in accordance with industry and regulatory policy. Methods chosen for a particular assessment will be influenced by various factors. These include the extent of the assessment, the most effective locations for the assessment activities to take place, access to physical resources, additional safety measures that may be required and the critical nature of the competencies being assessed. The critical safety nature of working with electricity, electrical equipment, gas or any other hazardous substance/material carries risk in deeming a person competent. Sources of evidence need to be ‘rich’ in nature to minimise error in judgment. Activities associated with normal everyday work have a bearing on the decision as to how much and how detailed the data gathered will contribute to its ‘richness’. Some skills are more critical to safety and operational requirements while the same skills may be more or less frequently practised. These points are raised for the assessors to consider when choosing an assessment method and developing assessment instruments. Sample assessment instruments are included for Assessors in the Assessment Guidelines of this Training Package. |

| Critical aspects of evidence required to demonstrate competency in this unit | 9.2) |  |
| --- | --- | --- |
|  | Before the critical aspects of evidence are considered all prerequisites must be met. Evidence for competence in this unit shall be considered holistically. Each element and associated performance criteria shall be demonstrated on at least two occasions in accordance with the ‘Assessment Guidelines – UEE11’. Evidence shall also comprise: A representative body of work performance demonstrated within the timeframes typically expected of the discipline, work function and industrial environment. In particular this shall incorporate evidence that shows a candidate is able to: Implement Occupational Health and Safety workplace procedures and practices, including the use of risk control measures as specified in the performance criteria and range statement Apply sustainable energy principles and practices as specified in the performance criteria and range statement Demonstrate an understanding of the essential knowledge and associated skills as described in this unit. It may be required by some jurisdictions that RTOs provide a percentile graded result for the purpose of regulatory or licensing requirements. Demonstrate an appropriate level of skills enabling employment Conduct work observing the relevant Anti Discrimination legislation, regulations, polices and workplace procedures Demonstrated consistent performance across a representative range of contexts from the prescribed items below: Carry out routine work activities in an energy sector environment as described in 8) and including: |  |
|  | A | Understanding work instruction. |
|  | B | Obtaining and checking tools and equipment. |
|  | C | Following work instructions. |
|  | D | Returning tools and surplus resources as required. |
|  | E | Updating work records. |
|  | F | Dealing with unplanned events by drawing on essential knowledge and skills to provide appropriate solutions incorporated in a holistic assessment with the above listed items. |
|  | Note: Successful completion of relevant vendor training may be used to contribute to evidence on which competency is deemed. In these cases the alignment of outcomes of vendor training with performance criteria and critical aspects of evidence shall be clearly identified. |  |

| Context of and specific resources for assessment | 9.3) |
| --- | --- |
|  | This unit should be assessed as it relates to normal work practice using procedures, information and resources typical of a workplace. This should include: OHS policy and work procedures and instructions. Suitable work environment, facilities, equipment and materials to undertake actual work as prescribed in this unit. These should be used in the formal learning/assessment environment. Note: Where simulation is considered a suitable strategy for assessment, conditions for assessment must be authentic and as far as possible reproduce and replicate the workplace and be consistent with the approved industry simulation policy. The resources used for assessment should reflect current industry practices in relation to carrying out routine work activities in an energy sector environment. |

| Method of assessment | 9.4) |
| --- | --- |
|  | This unit shall be assessed by methods given in Volume 1, Part 3 ‘Assessment Guidelines’. Note: Competent performance with inherent safe working practices is expected in the Industry to which this unit applies. This requires that the specified essential knowledge and associated skills are assessed in a structured environment which is primarily intended for learning/assessment and incorporates all necessary equipment and facilities for learners to develop and demonstrate the essential knowledge and skills described in this unit. |

| Concurrent assessment and relationship with other units | 9.5) |
| --- | --- |
|  | There are no concurrent assessment recommendations for this unit. |

# Range Statement

RANGE STATEMENT

10) This relates to the unit as a whole providing the range of contexts and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance. This unit shall be demonstrated in relation to carrying out routine work activities in energy sector environments in any of the following disciplines: Appliances Business equipment Computers Data Communications Electrical Electrical Machines Electronics Fire protection Instrumentation Refrigeration and Air Conditioning Renewable / sustainable energy Security technology Generic terms used throughout this Vocational Standard shall be regarded as part of the Range Statement in which competency is demonstrated. The definition of these and other terms that apply are given in Volume 2, Part 2.1.

# Unit Sector(s)

Not applicable.

# Competency Field

| Competency Field | 11) |
| --- | --- |
|  | Electrotechnology |