# UEGNSG004 Locate, prove and protect utility assets

Release: 1

UEGNSG004 Locate, prove and protect utility assets

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to locate, prove and protect utility assets. It includes preparing, locating, proving and low level, short-term protection of assets on work sites where utility industry operations occur. Persons undertaking this unit would not supervise third party work near a utility asset. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Independent Units

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to locate, prove and protect utility assets | 1.1 | Job requirements and workplace procedures for the site are obtained and discussed with relevant person/s to confirm the work schedule |
|  |  | 1.2 | Work health and safety (WHS)/occupational health and safety (OHS), environmental and sustainable energy policies and procedures, relevant clearances and no-go zones are obtained and applied in accordance with workplace procedures |
|  |  | 1.3 | Hazards are identified, risks are assessed and control measures are prioritised, implemented and monitored |
|  |  | 1.4 | Level of responsibility under the relevant work permit and/or notification is obtained and confirmed with relevant person/s in accordance with job requirements and workplace procedures |
|  |  | 1.5 | Relevant person/s, authorities and/or enterprises are consulted to ensure the work is coordinated effectively with others involved |
|  |  | 1.6 | Tools, equipment and personal protective equipment (PPE) required to carry out the work are identified, obtained and checked for correct operation and safety in accordance with workplace procedures |
|  |  | 1.7 | Materials, plans, diagrams, drawings and resources required for the work are obtained in accordance with workplace procedures |
|  |  | 1.8 | Site preparation, safety plan and work schedule are confirmed in accordance with workplace procedures |
| 2 | Locate, prove and protect utility assets | 2.1 | WHS/OHS risk control measures, schedule of work and workplace procedures for carrying out work are followed |
|  |  | 2.2 | Materials, tools and equipment required for the work are selected and used correctly and safely in accordance with manufacturer instructions and workplace procedures |
|  |  | 2.3 | Utility asset is located and clearly marked using selected equipment and tools in accordance with workplace procedures |
|  |  | 2.4 | Location of the asset proven using approved methods where permitted in accordance with workplace procedures |
|  |  | 2.5 | Utility asset is protected physically to ensure it is safe and secure in accordance with workplace procedures |
|  |  | 2.6 | Work is carried out to the required quality standard without waste of materials or damage to apparatus, equipment, the surrounding environment or services and using sustainable energy principles |
|  |  | 2.7 | Unplanned events are referred to immediate supervisor for directions in accordance with workplace procedures |
| 3 | Complete work and relevant documentation | 3.1 | WHS/OHS risk control measures for work completion are followed |
|  |  | 3.2 | Work site is tidied and made safe, or handed over to relevant person/s for further work in accordance with workplace procedures |
|  |  | 3.3 | Tools, equipment and any surplus resources/materials are cleaned, checked and securely stored in accordance with workplace procedures |
|  |  | 3.4 | Relevant person/s are notified of work completion in accordance with workplace procedures |
|  |  | 3.5 | Work completion documentation is completed accurately and provided to relevant person/s in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG004A Locate, prove and protect utility assets.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8