# Assessment Requirements for UEGNSG005 Prepare to work in the gas industry

Release: 1

Assessment Requirements for UEGNSG005 Prepare to work in the gas industry

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant industry standards, guidelines, codes of practice and regulations applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including applying risk control and safe work methods applying sustainable energy principles and practices communicating effectively with relevant person/s completing relevant workplace documentation confirming and following schedule of work and job requirements consulting relevant person/s to coordinate work dealing with unplanned events/situations in accordance with workplace procedures, in a manner that minimises risk to personnel and equipment following gas related activity workplace procedures and instructions maintaining a clean work area obtaining relevant resources and materials to conduct the work performing quality checks working within agreed timeframes or conditions.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

procedures/protocols for dealing with unplanned events relevant gas industry licensing/regulatory requirements relevant industry risk mitigation processes, including risk control and safe work methods relevant industry standards, guidelines, codes of practice and regulations relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies, procedures and instructions requirements to enter the work area statutory authorities and regulatory bodies that operate in the gas industry sustainable energy principles and practices includes techniques to minimise waste.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8