# Assessment Requirements for UEGNSG006 Use a portable gas detector to locate escape

Release: 1

Assessment Requirements for UEGNSG006 Use a portable gas detector to locate escape

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including using risk control measures applying sustainable energy principles and practices communicating effectively with relevant stakeholders completing workplace documentation determining if the gas/vapour level in a work area is safe from explosive, toxic and oxygen deficiency aspects based on gas properties and environmental conditions interpreting and converting readings and indications, including: identifying highest reading locations locating and pin-pointing gas escapes recording gas detection readings verifying actual escape location interpreting maps and asset records monitoring gases and workplace hazards pin-pointing gas escapes reading, interpreting and converting gas readings and indications, including: identifying highest reading locations locating and pin-point gas escapes verifying actual escape location using environmental indicators to assist in gas detection using personal protective equipment (PPE) required for conditions using portable gas detection devices, including: device maintenance ensuring device/equipment calibration and keeping records start up and shutdown procedures storage requirements.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

factors affecting the frequency of monitoring gas and vapour properties hazards, risk assessments and control measures nature of gas/vapour and the effect of environmental and local conditions portable gas detection devices, including: purpose, types and applications start up and shutdown procedures use of gas detection equipment calibration requirements and methods storage requirements probable areas that gases could accumulate relevant legislations, regulations, industry standards and codes of practices relevant manufacturer instructions relevant PPE relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures signs, symbols, terminology and legends used techniques to locate and pin-point gas escapes.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8