# Assessment Requirements for UEGNSG010 Conduct general excavations

Release: 1

Assessment Requirements for UEGNSG010 Conduct general excavations

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant workplace safety requirements, including: accessing and using relevant safety resources dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment following emergency management plan following safety and emergency procedures for incidents identifying and reporting hazards implementing risk control measures selecting and using the correct personal protective equipment (PPE) undertaking hazardous activities in a safe manner applying sustainable energy and environmental principles and practices completing excavation work and relevant documentation following manufacturer instructions following workplace policies and procedures, including: obtaining relevant resources and materials for conducting excavation work, including shoring, trenching and backfilling confirming location of other utility services following excavation procedures obtaining relevant work permits and notifications undertaking preparatory procedures implementing traffic control procedures identifying and checking tools, equipment and plant for correct operation and safety, including cleaning and storing tools, equipment, machinery and plant after use installing or re-instating markers part of confirmation of location obtaining, interpreting and completing workplace documents, including plans, drawings, work instructions, permits, maps, dial before you dig documentation, diagrams, schedules, and quality and safety checks obtaining job requirements, work instructions, safety plan and work schedule positioning traffic management signs, barriers and warning devices rehabilitating and maintaining a clean and safe worksite selecting and operating correct tools, plant, equipment and machinery to carry out general excavations.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

angle of repose, trench design limits and zone of influence limits environmental and sustainable energy principles and practices excavation of trenches and manholes excavation and shoring techniques to suit varying conditions, including: surface types soil types weather traffic time of day location quality and safety checks relevant manufacturer specifications relevant materials, tools, equipment, devices and PPE relevant permits and authorisations required relevant workplace safety requirements, including: legislated work health and safety (WHS)/occupational health and safety (OHS) requirements legislated industry/technical specific requirements workplace safety procedures manufacturer requirements relevant workplace documentation relevant workplace policies and procedures relevant legislation, regulations, codes of practice and industry standards relevant plans, diagrams, maps and drawings relevant safety and environmental hazards and mitigation measures, including: relevant utility notification and location services (dial before you dig) hazards and field risk assessments electrical, gases, toxins and fumes security and fall prevention prevention of trench collapse confined spaces awareness traffic hazards emergency control measures first aid, emergency and safety procedures for incidents hazards and hazardous activities in the workplace site preparation, work schedules, safety plans and job requirements trench and site restoration and reinstatement techniques, including: ground surface level finishes asset markers and signs techniques to identify and manage other utilities both underground and overhead techniques to minimise waste traffic management signs, barriers and warning devices.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8