# UEGNSG011 Conduct isolations under the permit to work system for gas industry worksites

Release: 1

UEGNSG011 Conduct isolations under the permit to work system for gas industry worksites

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to plan and conduct isolation, de-isolation and restoration under the permit to work system for a gas industry worksite in accordance with relevant legislation, industry standards, codes of practice and workplace procedures. It includes conducting energy source isolation, de-isolation and restoration under permit to work system for a gas industry worksite and completing relevant documentation. The application of the skills and knowledge described in this unit may require a license or permit to practice in the workplace. Other conditions may apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

MSMWHS217 Gas test atmospheres

# Competency Field

Gas Cross Discipline

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for isolation work | 1.1 | Workplace safety, environmental and sustainable energy practices for the site are identified, obtained and understood |
|  |  | 1.2 | Job requirements are obtained and interpreted from plans, specifications and instructions |
|  |  | 1.3 | Relevant job requirements and workplace procedures for work activities are discussed with relevant person/s, including third parties, to determine and confirm work schedule and respective responsibilities |
|  |  | 1.4 | Hazards are identified, workplace safety and environmental risks are assessed, and control measures are prioritised, implemented and monitored in accordance with workplace procedures |
|  |  | 1.5 | Scope of responsibility under the relevant job requirements, including all work permits and/or relevant notifications, is determined and confirmed to access the services and perform work in accordance with job requirements and workplace procedures |
|  |  | 1.6 | Energy source isolation points are identified and communicated to the work party in accordance with requirements and workplace procedures |
|  |  | 1.7 | Equipment, tools and personal protective equipment (PPE) needed to carry out work activities are identified, obtained and checked for correct operation and safety in accordance with workplace procedures and manufacturer instructions |
|  |  | 1.8 | Materials, plans, diagrams, drawings and resources required for work are confirmed and obtained in accordance with workplace procedures |
| 2 | Conduct energy source isolation | 2.1 | Workplace safety and environmental risk control measures, schedule of work and workplace procedures for carrying out work are followed |
|  |  | 2.2 | Appropriate materials, tools and equipment are selected and used safely in accordance with manufacturer instructions and workplace procedures |
|  |  | 2.3 | Work is completed within agreed timeframe and to industry standards in accordance with job requirements and workplace procedures |
|  |  | 2.4 | Hazardous activities are conducted safely in accordance with regulatory requirements and workplace procedures |
|  |  | 2.5 | Alarms, codes and hazard warnings are correctly recognised, and the correct response strategy is selected and applied in accordance with workplace procedures |
|  |  | 2.6 | Energy source isolation is completed, tagged, locked out and documented on work permit in accordance with workplace procedures and job requirements |
|  |  | 2.7 | Faults and operational conditions of the components are identified, repaired or replaced, and reported in accordance with organisational job requirements |
|  |  | 2.8 | Unplanned events and non-routine problems are identified and actioned in accordance with workplace procedures |
| 3 | Conduct de-isolation and restoration | 3.1 | Workplace safety risk control measures for work completion are followed |
|  |  | 3.2 | De-isolation and restoration are performed, tags removed and results recorded in accordance with workplace procedures |
|  |  | 3.3 | De-isolations are confirmed with other person/s involved in, or affected by, the work in accordance with workplace procedures |
|  |  | 3.4 | Worksite is cleaned, reinstated and made safe in accordance with workplace procedures |
|  |  | 3.5 | Tools, equipment and any surplus resources/materials are cleaned, checked and securely stored in accordance with workplace procedures |
|  |  | 3.6 | Incidents are reported and followed up as required in accordance with workplace procedures |
|  |  | 3.7 | Relevant person/s is notified of work completion in accordance with workplace procedures |
|  |  | 3.8 | Work completion documentation is completed accurately and provided to relevant person/s in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit supersedes and is equivalent to UEGNSG142 Conduct isolations under the permit to work system for gas industry work sites.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8