# Assessment Requirements for UEGNSG029 Process, mix and blend industrial gases

Release: 1

Assessment Requirements for UEGNSG029 Process, mix and blend industrial gases

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant industry standards, guidelines, codes of practice and regulations applying relevant workplace safety requirements, including: identifying and reporting hazards implementing risk control measures selecting and using correct personal protective equipment (PPE) working safely with hazardous materials and equipment applying sustainable energy and environmental principles and practices communicating with relevant person/s completing shutdown completing work and relevant documentation conducting quality and safety checks dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment following procedures for emergency response, including: equipment failure gas leaks and fire hazards and incidents following workplace procedures identifying and reporting anomalies monitoring and adjusting controls obtaining and complying with relevant work permits/authorisations obtaining and using relevant equipment, including control and monitoring equipment mixing/sampling equipment pumps/compressors valves vessels operating valves in correct sequence preparing to mix, blend and/or process industrial gas mix, blend and/or process industrial gas reporting anomalies.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

compliance requirements equipment/tools, including: analytical judgements for appropriate adjustments to plant and equipment types, selection, manufacturer specifications/instructions, testing and set-up variations and irregularities identification fault-finding and troubleshooting techniques hazardous activities, including lifting, climbing, working in confined spaces or aloft, and use of power tools mix, blend and/or process industrial gas, including: requirements, applications, methods and procedures gas analysis equipment gas alarm and communication equipment oral and written communication techniques product specifications and quality assurance documentation quality and safety checks relevant industry standards, guidelines, codes of practice and regulations relevant manufacturer specifications relevant safe work method statements (SWMS)/job safety analysis (JSA) or risk mitigation processes relevant workplace safety requirements, including: legislated work health and safety (WHS)/occupational health and safety (OHS) requirements legislated industry/technical specific requirements workplace safety procedures manufacturer requirements relevant work permits/authorisations.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8