# UEGNSG032 Carry out aerial surveillance of gas transmission pipelines

Release: 1

UEGNSG032 Carry out aerial surveillance of gas transmission pipelines

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to carry out aerial surveillance of gas transmission pipelines, easements and/or surrounding environments. It includes identifying non-conformance, completing work and relevant documentation, and reporting in accordance with relevant legislation, codes of practice, regulations, standards and workplace procedures. It includes threat mitigation through identification of system non-conformance in accordance with organisational and statutory requirements. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Gas Transmission

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to carry out aerial surveillance of gas transmission pipelines | 1.1 | Workplace safety, environmental and sustainable energy practices for the site are identified, obtained and understood |
|  |  | 1.2 | Job requirements are obtained and interpreted from plans, specifications and instructions |
|  |  | 1.3 | Relevant job requirements and workplace procedures for work activities are discussed with relevant person/s, including third parties, to determine and confirm work schedule and respective responsibilities |
|  |  | 1.4 | Hazards are identified, workplace safety and environmental risks are assessed, and control measures are prioritised, implemented and monitored in accordance with workplace procedures |
|  |  | 1.5 | Scope of responsibility under the relevant job requirements, including all work permits and/or relevant notifications, is determined and confirmed to access the services and perform work in accordance with job requirements and workplace procedures |
|  |  | 1.6 | Equipment, tools and personal protective equipment (PPE) needed to carry out work activities are identified, obtained and checked for correct operation and safety in accordance with workplace procedures and manufacturer instructions |
|  |  | 1.7 | Materials, plans, diagrams, drawings and resources required for work are confirmed and obtained in accordance with workplace procedures |
| 2 | Carry out aerial surveillance of gas transmission pipelines to identify non-conformance | 2.1 | Workplace safety and environmental risk control measures, schedule of work and workplace procedures for carrying out work are followed |
|  |  | 2.2 | Aerial surveillance of pipelines, easements and/or surrounding environments is conducted and faults and/or security breaches/threats reported to relevant person/s in accordance with workplace procedures |
|  |  | 2.3 | Surveillance information is analysed, key issues identified, and information evaluated for relevance/ validity to the job requirements and confirmed by site inspection, as required |
|  |  | 2.4 | Dealings with stakeholders are consistent with workplace procedures and the special needs of customers are identified and considered in targeting client service |
|  |  | 2.5 | Appropriate materials, tools and equipment are selected and used safely in accordance with manufacturer instructions and workplace procedures |
|  |  | 2.6 | Work is completed within agreed timeframe and to industry standards in accordance with job requirements and workplace procedures |
|  |  | 2.7 | Hazardous activities are conducted safely in accordance with regulatory requirements and workplace procedures |
|  |  | 2.8 | Alarms, codes and hazard warnings are correctly recognised, and the correct response strategy is selected and applied in accordance with workplace procedures |
|  |  | 2.9 | Additional works in the vicinity of the pipelines are identified and reported to relevant person/s in accordance with workplace procedures |
|  |  | 2.10 | Unplanned events are referred to the relevant person/s for directions in accordance with workplace procedures |
| 3 | Complete work and relevant documentation | 3.1 | Information gathered is analysed, anomalies and options are communicated to relevant stakeholders and implemented, as required, in accordance with work schedule and workplace procedures |
|  |  | 3.2 | Workplace safety risk control measures for work completion are followed |
|  |  | 3.3 | Quality and safety checks of the work are conducted in accordance with job requirements, workplace procedures and community and industry standards |
|  |  | 3.4 | Tools, equipment and any surplus resources/materials are cleaned, checked and securely stored in accordance with workplace procedures |
|  |  | 3.5 | Observations and anomalies are documented and processed, and relevant person/s advised in accordance with workplace procedures |
|  |  | 3.6 | Incidents are reported and followed up as required in accordance with workplace procedures |
|  |  | 3.7 | Work completion documentation is completed accurately and provided to relevant person/s in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG353 Carry out aerial surveillance of gas transmission pipelines.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8