# UEGNSG035 Respond to gas infrastructure emergencies

Release: 1

UEGNSG035 Respond to gas infrastructure emergencies

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to respond to gas infrastructure emergencies and attend to first response requirements of a gas distribution or transmission emergency incident in accordance with relevant legislation, codes of practice, regulations and procedures. Incidents may include, but are not limited to, gas escapes, gas outages, security breaches, fires, injury and damage. It includes assessing the extent of the situation and type of incident from the control centre, despatching staff to assess the site and making the area safe, as required, and reporting back to the control centre. Staff on site are responsible for identifying sources of gas leaks; reporting back to the response/control centre; identifying and controlling potential ignition sources, ventilation/evacuation from property; liaising with other authorities and emergency services; remaining on site and maintaining site safety until support arrives, as required. This unit applies to gas distribution and transmission pipelines and facilities and is subject to all workplace safety and duty of care requirements being met for the workplace. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Control Centre Discipline

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |  |
| --- | --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |  |
| 1 | Confirm emergency/ incident and prepare to respond | 1.1 | Workplace safety, environmental and sustainable energy practices for the site are identified, obtained and understood |
|  |  | 1.2 | Emergency/incident is confirmed with supervisory systems, supervisor/leader and other control centres in accordance with workplace procedures |
|  |  | 1.3 | Incident response is discussed with relevant person/s to confirm the emergency response plan |
|  |  | 1.4 | Relevant personnel are despatched to site, as required, to assess and report on details of the emergency or incident |
|  |  | 1.5 | Hazards are identified, workplace safety and environmental risks are assessed, and control measures are prioritised, implemented and monitored in accordance with workplace procedures |
|  |  | 1.6 | Relevant work permits and/or notifications are obtained, as required, to ensure the work is approved, recorded, coordinated and performed safely in accordance with regulatory requirements and workplace procedures |
| 2 | Respond to an emergency/incident | 2.1 | Workplace safety and environmental risk control measures, schedule of work and workplace procedures for carrying out work are followed |
|  |  | 2.2 | Relevant emergency/incident information and actions are recorded and reported in accordance with workplace procedures |
|  |  | 2.3 | Operating conditions of equipment, including temperatures, flow and pressures, are monitored to determine performance of equipment/pipeline and adjustments made in accordance with emergency response procedures |
|  |  | 2.4 | Communication with supervisor, coordination centre, emergency authorities and relevant stakeholders is undertaken and maintained in accordance with emergency requirements and workplace procedures |
|  |  | 2.5 | Actions and directives from the coordination centre are applied to minimise threats to the public, pipeline, facilities and environment and to expedite control/reparation |
|  |  | 2.6 | Unplanned events are referred to the relevant person/s for directions in accordance with workplace procedures |
| 3 | Hand over emergency/incident and complete relevant documentation | 3.1 | Workplace safety risk control measures for work completion are followed are followed |
|  |  | 3.2 | Incidents are reported and followed up as required in accordance with workplace procedures |
|  |  | 3.3 | Emergency/incident, including all reports, risk control measures and permit conditions, are handed over to emergency/incident coordinator or relief response person in accordance with workplace procedures |
|  |  | 3.4 | Work completion documentation is completed accurately and provided to relevant person/s in accordance with workplace procedures |
|  |  | 3.5 | Debriefing is conducted with relevant person/s to discuss strengths and weaknesses of emergency/incident response in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG506 Respond to gas infrastructure emergencies.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8

Assessment Requirements for UEGNSG035 Respond to gas infrastructure emergencies

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant workplace safety requirements, including: actioning and reporting accidents and incidents identifying and reporting hazards implementing risk control measures applying and following instructions from coordination centre applying environmental and sustainable energy principles and practices applying relevant legislation, standards, regulations and codes of practice assessing the incident and recommending a safe working site/zone communicating with relevant stakeholders completing required documentation and reporting confirming emergency/incident and preparing to respond to an emergency dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment following emergency response procedures following workplace policies and procedures handing over emergency/incident to relevant person/s identifying and evaluating threats to the integrity of gas pipelines and worksite investigating the incident and collecting evidence minimising threats to the public, pipeline, facilities and environment monitoring gas infrastructure performance obtaining relevant work permits/authorisations participating in debrief responding to an emergency/incident reviewing incident investigation and collected evidence.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

effective communication and liaison with relevant stakeholders, including: workplace colleagues, supervisors and managers relevant customers and suppliers regulatory bodies property/landowners (including traditional landowners) and tenants emergency response organisations repair coordinator or relief response person plant operators and contractors coordination centre, control centre and radio room emergency/incident control procedures for applicable enterprise/worksite environmental and sustainable energy principles and practices escalation of emergency levels handover procedures hazards, risk assessments and control measures identify the nature of a situation and preliminary assessment operating conditions of equipment including temperatures, flow and pressures relevant legislation, industry standards, regulations and codes of practice relevant manufacturer specifications relevant permits and notifications required relevant safe work method statements (SWMS)/job safety analysis (JSA) or risk mitigation processes relevant workplace safety requirements, including: legislated work health and safety (WHS)/occupational health and safety (OHS) requirements legislated industry/technical specific requirements workplace safety procedures manufacturer requirements relevant workplace documentation, report and records relevant workplace policies and procedures.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8