# UEGNSG044 Repair and maintain stationary gas fuelled turbine engines

Release: 1

UEGNSG044 Repair and maintain stationary gas fuelled turbine engines

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to isolate, disconnect, repair, reconnect and maintain stationary gas fuelled turbine engines up to a capacity of 5 gigajoule per hour (GJ/hr) (1,300 kilowatt). It includes disconnecting, carrying out repairs and replacing fuel train components to stationary gas fuelled turbine engine. Reconnecting the gas fuelled turbine engine includes pre-start tests, start up, adjusting components and controls to safe and efficient operation, and completing all required documentation. This unit does not cover: repairs to the internal mechanical components of the engine modifications to gas fuelled turbine engine. Note: 500 kw equates to a gas input of approximately 6 GJ/hr. The application of the skills and knowledge described in this unit may require a license or permit to practice in the workplace. Other conditions may apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

Not applicable.

# Competency Field

Gas Cross Discipline

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to repair and maintain gas fuelled turbine engine | 1.1 | Workplace safety, environmental and sustainable energy practices for the site are identified, obtained and understood |
|  |  | 1.2 | Job requirements are obtained and interpreted from plans, specifications and instructions |
|  |  | 1.3 | Relevant job requirements and workplace procedures for work activities are discussed with relevant person/s, including third parties, to determine and confirm work schedule and respective responsibilities |
|  |  | 1.4 | Hazards are identified, workplace safety and environmental risks are assessed, and control measures are prioritised, implemented and monitored in accordance with workplace procedures |
|  |  | 1.5 | Scope of responsibility under the relevant job requirements, including all work permits and/or relevant notifications, is determined and confirmed to access the services and perform work in accordance with job requirements and workplace procedures |
|  |  | 1.6 | Equipment, tools and personal protective equipment (PPE) needed to carry out work activities are identified, obtained and checked for correct operation and safety in accordance with workplace procedures and manufacturer instructions |
|  |  | 1.7 | Materials, plans, diagrams, drawings and resources required for work are confirmed and obtained in accordance with workplace procedures |
| 2 | Repair and maintain gas fuelled turbine engine | 2.1 | Workplace safety and environmental risk control measures, schedule of work and workplace procedures for carrying out work are followed |
|  |  | 2.2 | Relevant gas regulatory and codes of practice, and recording and reporting requirements are satisfied at appropriate times throughout the work sequence |
|  |  | 2.3 | Gas and electrical circuits/machines/plant are isolated and safe in accordance with authority, workplace safety requirements and workplace procedures before work is commenced |
|  |  | 2.4 | Nature and possible cause of faults or out-of-specification performance are identified from defect reports or operational records |
|  |  | 2.5 | Faults and operational conditions of the components are identified, repaired or replaced, and reported in accordance with organisational job requirements |
|  |  | 2.6 | Engine is disconnected to carry out maintenance and repairs, as required, in accordance with gas authority and workplace safety requirements and workplace procedures |
|  |  | 2.7 | Components are removed/dismantled, and parts stored to protect them against loss or damage, as required |
|  |  | 2.8 | Faulty components are rechecked, and their fault status confirmed |
|  |  | 2.9 | Gas fuelled turbine engine materials required to rectify faults are sourced and obtained in accordance with workplace procedures |
|  |  | 2.10 | Work is coordinated to ensure completion in agreed timeframe and to industry standards with a minimum of waste in accordance with job requirements and workplace procedures |
|  |  | 2.11 | Effectiveness of the repair is inspected and tested in accordance with workplace procedures |
|  |  | 2.12 | Quality and safety checks of the work are conducted in accordance with job requirements, workplace procedures and community and industry standards |
|  |  | 2.13 | Unplanned events and non-routine problems are identified and actioned in accordance with workplace procedures |
| 3 | Complete and report repair and maintenance | 3.1 | Workplace safety work completion risk control measures and workplace procedures are followed |
|  |  | 3.2 | Check of the gas fuelled turbine engine is made to verify compliance with job requirements, certification required by relevant gas authorities and industry standards |
|  |  | 3.3 | Incidents and injuries are reported and followed up as required in accordance with workplace procedures |
|  |  | 3.4 | Tools and equipment are cleaned, checked, serviced and stored in accordance with manufacturer recommendations and workplace procedures |
|  |  | 3.5 | Worksite is cleaned/tidied and made safe in accordance with workplace procedures |
|  |  | 3.6 | Work completion documentation is completed accurately and provided to relevant person/s in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG139 Repair and maintain stationary gas fuelled turbine engines.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8