# UEGNSG057 Liaise with third party and the community to maintain pipeline integrity and community safety

Release: 1

UEGNSG057 Liaise with third party and the community to maintain pipeline integrity and community safety

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to liaise with third parties and the community for purposes of maintaining the integrity of a transmission pipeline. It includes third-party liaison, completing relevant documentation, providing community awareness, communicating and implementing a communication strategy, and applying negotiating skills. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Gas Transmission

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan to liaise with third parties and the community to maintain pipeline integrity and community safety | 1.1 | Workplace safety and practices for the site are identified, obtained and understood |
|  |  | 1.2 | Job requirements are obtained and interpreted from plans, specifications and instructions |
|  |  | 1.3 | Work is prioritised and sequenced for completion within acceptable timeframes following consultation with relevant stakeholders in accordance with workplace procedures |
|  |  | 1.4 | Relevant job requirements and workplace procedures for work activities are discussed with relevant person/s, including third parties and the community to determine and confirm work schedule and respective responsibilities |
|  |  | 1.5 | Hazards are identified, workplace safety and environmental risks are assessed, and control measures are prioritised, implemented and monitored in accordance with workplace procedures |
|  |  | 1.6 | Scope of responsibility under the relevant job requirements, including all work permits and/or relevant notifications, is determined and confirmed to access the services and perform work in accordance with job requirements and workplace procedures |
|  |  | 1.7 | Equipment, tools and personal protective equipment (PPE) needed to carry out work activities are identified, obtained and checked for correct operation and safety in accordance with workplace procedures and manufacturer instructions |
|  |  | 1.8 | Third parties and the community are provided with possible solutions and options within the scope, acceptable cost and project requirements |
|  |  | 1.9 | Communication issues with relevant stakeholders, including third parties and the community, are resolved and work/activities coordinated in accordance with work schedule and workplace procedures |
|  |  | 1.10 | Person/s participating in the work are briefed and responsibilities coordinated and authorised in accordance with workplace procedures |
|  |  | 1.11 | System status is confirmed through communication with pipeline control centre in accordance with workplace procedures |
| 2 | Conduct third-party and community liaison to maintain pipeline integrity and community safety | 2.1 | Workplace safety and environmental risk control measures, schedule of work and workplace procedures for carrying out work are followed |
|  |  | 2.2 | Analysis of information to identify key issues is undertaken and information evaluated for relevance and validity to the requirements |
|  |  | 2.3 | Hazardous activities are conducted safely in accordance with regulatory requirements and workplace procedures |
|  |  | 2.4 | Alarms, codes and hazard warnings are correctly recognised, and the correct response strategy is selected and applied in accordance with workplace procedures |
|  |  | 2.5 | Faults and operational conditions of the components are identified, and timelines to repair or replace, are communicated in accordance with workplace procedures. |
|  |  | 2.6 | Liaison and communication with relevant stakeholders, including third parties and the community, are conducted to ensure pipeline integrity is maintained and job completed to industry standards with a minimum of waste in accordance with job requirements and workplace procedures |
|  |  | 2.7 | Unplanned events are referred to the relevant person/s for directions in accordance with workplace procedures and problem-solving and troubleshooting techniques are applied to problems encountered when liaising with third parties and the community |
|  |  | 2.8 | Quality and safety checks of the work are undertaken in accordance with job requirements, workplace procedures and community and industry standards |
| 3 | Finalise third-party and community liaison and complete relevant workplace documentation | 3.1 | Workplace safety risk control measures for work completion are followed. |
|  |  | 3.2 | Quality and safety checks of the work are conducted in accordance with job requirements, workplace procedures and community and industry standards |
|  |  | 3.3 | Worksite is cleaned, reinstated and made safe in accordance with workplace procedures |
|  |  | 3.4 | Tools, equipment and any surplus resources/materials are cleaned, checked and securely stored in accordance with workplace procedures |
|  |  | 3.5 | Incidents are reported and followed up as required in accordance with workplace procedures |
|  |  | 3.6 | Relevant person/s, including third parties and the community, are notified of work completion in accordance with workplace procedures |
|  |  | 3.7 | Work completion documentation is completed accurately and provided to relevant person/s in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG314 Liaise with third party and the community to maintain pipeline integrity and community safety.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8