# Assessment Requirements for UEGNSG063 Operate and maintain gas station water bath heaters

Release: 1

Assessment Requirements for UEGNSG063 Operate and maintain gas station water bath heaters

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying problem-solving techniques applying relevant industry standards, guidelines, codes of practice and regulations applying relevant workplace safety requirements, including: following emergency response procedures maintaining a safe and clean workplace working safely with hazardous materials and equipment identifying and reporting hazards implementing risk control measures collecting, analysing and reporting on utility supply gas and temperature control systems completing required documentation and reporting conducting quality and safety checks dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment fault-finding and troubleshooting water bath heater faults obtaining and interpreting relevant technical drawings, diagrams, schedules and manuals obtaining relevant work permits operating and maintaining gas station water bath heaters and components operating, adjusting/testing and fault-finding water bath heaters and components repairing and replacing water bath components selecting correct materials, equipment, tools, personal protection equipment (PPE) and measurement devices.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

fault-finding and troubleshooting techniques to identify water bath heater faults gas fired and electric water bath heaters, including: operation components skid layouts hazardous activities, including: lifting, climbing, working in confined spaces and aloft, and use of power tools isolate and de-energise systems manufacturer specifications, manuals and procedures operating modes, including: dual heater skid operation automatic manual set point control relevant equipment, tools and measurement devices relevant industry standards, guidelines, codes of practice, legislation and regulations relevant safe work method statements (SWMS)/job safety analysis (JSA) or risk mitigation processes relevant workplace safety requirements, including: legislated work health and safety (WHS)/occupational health and safety (OHS) requirements legislated industry/technical specific requirements workplace safety procedures manufacturer requirements relevant work permits relevant workplace policies and procedures reporting and documentation requirements routine inspection requirements technical plans, diagrams and drawings temperature control systems water bath heater maintenance and operation water levels and utility supply.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8