# UEGNSG106 Coordinate repair of pipeline, facilities and equipment

Release: 1

UEGNSG106 Coordinate repair of pipeline, facilities and equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to coordinate the repair of gas pipeline, facilities and equipment. It includes coordinating repair of gas pipeline, facilities and equipment. It also includes coordinating recommissioning of systems, equipment and completing the required documentation, reports and record keeping. Persons undertaking this unit would work as a supervisor or in a planning role to coordinate gas pipeline repair and work independently performing specific tasks in a range of contexts that could be unpredictable. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Cross Discipline Units

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for the coordination of pipeline, facilities and equipment repairs | 1.1 | Work schedule, drawings, plans and material lists are obtained, analysed and confirmed, as required, by site inspection in accordance with workplace procedures |
|  |  | 1.2 | Job requirements and workplace procedures for the work are obtained for all work sites and communicated to relevant person/s in accordance with workplace procedures |
|  |  | 1.3 | Work health and safety (WHS)/occupational health and safety (OHS), environmental and sustainable energy workplace policies and procedures related to the work are obtained, applied and communicated with relevant person/s |
|  |  | 1.4 | Work is prioritised and sequenced for completion within acceptable timeframes following consultation with relevant person/s |
|  |  | 1.5 | Hazards are identified, WHS/OHS risks are assessed and control measures prioritised, implemented and monitored in accordance with workplace procedures |
|  |  | 1.6 | Relevant work permit/s is obtained to access and perform the repair work in accordance with regulatory and job requirements and workplace procedures |
|  |  | 1.7 | Person/s, equipment, tools and personal protective equipment (PPE) required for the job are identified, scheduled, obtained and checked for correct operation and safety in accordance with workplace procedures |
|  |  | 1.8 | Relevant person/s at work site are confirmed to be current in first aid and other related work procedures in accordance with requirements |
|  |  | 1.9 | Communication issues with relevant stakeholders are resolved and work coordinated in accordance with work schedule and workplace procedures |
|  |  | 1.10 | Site is prepared to minimise risk and damage to property, commerce and individuals in accordance with the work schedule and workplace procedures |
|  |  | 1.11 | Person/s participating in the work are briefed and responsibilities coordinated and confirmed in accordance with job requirements and workplace procedures |
|  |  | 1.12 | Road signs, barriers and warning devices are positioned in accordance with job requirements, workplace procedures and traffic management plan |
| 2 | Coordinate repair of gas pipeline, facilities and equipment | 2.1 | WHS/OHS workplace policies, procedures and safe work practices are followed to eliminate or minimise incidents and hazards |
|  |  | 2.2 | Hazardous activities are conducted safely and currency confirmed in accordance with regulatory requirements and workplace procedures |
|  |  | 2.3 | Repair of pipeline, facilities and equipment is coordinated to agreed work schedule and to required industry standards with a minimum of waste in accordance with job requirements and workplace procedures |
|  |  | 2.4 | Environmental hazards, risks and control measures are monitored and preventative action taken and referred to appropriate authorities in accordance with regulatory requirements and workplace procedures |
|  |  | 2.5 | Unplanned events encountered when coordinating the repair of pipeline, facilities and equipment are identified and actioned in accordance with workplace procedures |
|  |  | 2.6 | Fault finding and troubleshooting techniques are applied to identify repairs or maintenance required in accordance with job requirements and workplace procedures |
|  |  | 2.7 | Quality and safety checks of the work are undertaken in accordance with industry standards and workplace procedures |
| 3 | Coordinate recommission systems and equipment and complete relevant documentation | 3.1 | Repaired/installed equipment is brought back on line at the desired operational parameters and work undertaken is checked against work schedule for conformance in accordance with workplace procedures |
|  |  | 3.2 | Accidents and injuries are reported, as required, in accordance with workplace procedures |
|  |  | 3.3 | Work site is rehabilitated, cleaned up and made safe in accordance with workplace procedures |
|  |  | 3.4 | Tools, equipment and any surplus resources and materials are cleaned, checked and returned to storage in accordance with workplace procedures |
|  |  | 3.5 | Relevant work permit/s are signed off and facilities/equipment returned to service in accordance with job requirements and workplace procedures |
|  |  | 3.6 | Work completion records, reports and documentation is completed, processed and appropriate person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Training Industry Package Companion Volume Implementation Guide. |  |
| --- | --- |
| pipeline, facilities and equipment, including at least 3 of the following: | excavation trenching shoring stitch bore horizontal drilling directional drilling |
| competency must be demonstrated in relation to coordinating the repair of pipeline, facilities and equipment, including at least 3 of the following: | nylon (polymide) pipeline laying techniques nylon gluing nylon stop off horizontal drilling directional drilling |
| competency must be demonstrated in relation to coordinating the repair of pipeline, facilities and equipment, including at least 5 of the following: | polyethylene (PE) pipeline laying techniques large diameter PE PE electro fusion PE butt fusion saddle fusion socket fusion PE stop off compression couplings or flanges connection of PE to nylon practical application of installation and maintenance of plastic pipe systems |
| competency must be demonstrated in relation to coordinating the repair of pipeline, facilities and equipment, including at least 4 of the following: | unplasticised polyvinyl chloride (uPVC) pipeline laying techniques uPVC solvent cemented joints uPVC moulded joints uPVC stop off uPVC couplings or flanges connection of uPVC to steel practical application of installation and maintenance of plastic pipe systems |
| competency must be demonstrated in relation to coordinating the repair of pipeline, facilities and equipment, including at least 2 of the following: | steel pipeline coating repair steel pipeline coating testing (jeeper) steel, field joint coating |
| competency must be demonstrated in relation to coordinating the repair of pipeline, facilities and equipment, including at least 3 of the following: | connection of PE to steel mains steel mains welding steel mains repair sleeve application clamp application hot tap and stopple |
| competency must be demonstrated in relation to coordinating the repair of pipeline, facilities and equipment, including at least 2 of the following: | high pressure stop off bagtube squash off jacks squash off pliers |

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG106B Coordinate repair of pipeline, facilities and equipment.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8

Assessment Requirements for UEGNSG106 Coordinate repair of pipeline, facilities and equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: ensuring emergency response workplace procedures are in place hazard identification and reporting implementing risk control measures working safely with hazardous materials and equipment applying problem-solving techniques applying relevant industry standards, guidelines, codes of practice and regulations applying sustainable energy and environmental principles and practices communicating schedules to coordinate to person/s communicating with other authorities and relevant stakeholders completing work and relevant documentation coordinating pipeline, facilities and equipment repairs dealing with unplanned events in accordance with workplace procedures following relevant workplace procedures interpreting technical drawings, plans and materials lists obtaining relevant resources, tools, equipment and materials obtaining relevant work permits positioning road signs, barriers and warning devices preparing for the coordination of pipeline, facilities and equipment repairs recommissioning gas pipeline systems and equipment.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

communication techniques coordination of repair of pipeline, facilities and equipment requirements documentation requirements to reflect the repair work carried out persons, equipment and process required for the repair work progress of repair work, including evaluating required amendments or modifications recommission gas pipeline systems and equipment, including quality and safety checks relevant industry standards, guidelines, codes of practice and regulations relevant manufacturer specifications relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant stakeholders, including authorised persons, authorities, clients and land owners relevant technical drawings, plans or specifications relevant WHS/OHS legislated requirements, includings: hazards, risk assessment and control measures environmental and sustainable energy principles and practices relevant workplace documentation relevant workplace policies and procedures required work permits, including cancel/sign-off of relevant work permits restoration of site in compliance with WHS/OHS and environmental legislative and operational requirements road signs, barriers and warning devices techniques to secure work area and equipment prior to repair traffic management plans types of problems and faults that may require repair verification that facilities/equipment are safe for repair work to commence.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8