# UEGNSG142 Conduct isolations under the permit to work system for gas industry work sites

Release: 2

UEGNSG142 Conduct isolations under the permit to work system for gas industry work sites

# Modification History

Release 2: This is the second release of this unit of competency in the UEG Gas Industry Training Package. Minor typographic error corrected in Pre-requisite Unit code. Release 1: This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to plan and conduct isolation, de-isolation and restoration under the permit to work system for a gas industry work site in accordance with relevant legislation, industry standards, codes of practice and workplace procedures. It includes conducting energy source isolation, de-isolation and restoration under permit to work system for a gas industry work site and completing relevant documentation. The application of the skills and knowledge described in this unit may require a license or permit to practice in the workplace. Other conditions may apply under state and territory legislative and regulatory licencing requirements which must be confirmed prior to commencing this unit.

# Pre-requisite Unit

MSMWHS217 Gas test atmospheres

# Competency Field

Gas Cross Discipline

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for isolation work | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS), environmental and sustainable energy policies, and workplace procedures for the work site are identified, obtained and applied |
|  |  | 1.2 | Plans, specifications and instructions are obtained and interpreted to determine job requirements |
|  |  | 1.3 | Job requirements and workplace procedures for the work are discussed with relevant person/s to confirm the work schedule and respective responsibilities |
|  |  | 1.4 | Hazards are identified, WHS/OHS risks are assessed and control measures are prioritised, implemented and monitored in accordance with workplace procedures |
|  |  | 1.5 | Responsibilities under the relevant work permit/notification is obtained and confirmed to access, isolate/de-isolate systems and perform the work in accordance with regulatory requirements and workplace procedures |
|  |  | 1.6 | Energy source isolation points are identified and communicated to the work party in accordance with requirements and workplace procedures |
|  |  | 1.7 | Person/s and equipment, tools and personal protective equipment (PPE) required for the work are identified, coordinated, scheduled, obtained and checked for correct operation and safety in accordance with workplace procedures |
|  |  | 1.8 | Resources, including persons and equipment required, are identified, scheduled, coordinated and confirmed |
|  |  | 1.9 | Appropriate person/s are consulted to ensure the work is coordinated effectively with others involved |
|  |  | 1.10 | Third-party issues, including low voltage electrical work, are referred to relevant person/s in accordance with workplace procedures |
|  |  | 1.11 | Persons participating in the work, including plant operators and contractors, are briefed and responsibilities coordinated and authorised by permits to work, as required, in accordance with workplace procedures |
|  |  | 1.12 | Site preparation, safety plan and the work schedule are confirmed in accordance with workplace procedures |
| 2 | Conduct energy source isolation | 2.1 | WHS/OHS, risk control measures, schedule of work and workplace procedures for carrying out the work are followed |
|  |  | 2.2 | Materials, tools, equipment, personal protective equipment (PPE) and measuring devices required for the isolation are selected and used correctly and safely in accordance with manufacturer instructions |
|  |  | 2.3 | Work is carried out to industry standards without waste of materials or damage to apparatus, circuits and the surrounding environment or services using sustainable energy principles |
|  |  | 2.4 | Hazard warnings and safety signs are recognised and WHS/OHS risks and incidents reported to authorised person/s for directions in accordance with workplace procedures |
|  |  | 2.5 | Energy source isolation is completed, tagged, locked out and documented on work permit in accordance with workplace procedures and job requirements |
|  |  | 2.6 | Unplanned events and non-routine problems encountered when conducting isolations are identified and actioned in accordance with requirements and workplace procedures |
|  |  | 2.7 | Quality and safety checks of the work are undertaken in accordance with industry standards and workplace procedures |
| 3 | Conduct de-isolation and restoration | 3.1 | WHS/OHS risk control measures and workplace procedures for completing the work are followed |
|  |  | 3.2 | De-isolation and restoration is performed, tags removed and results recorded in accordance with workplace procedures |
|  |  | 3.3 | Tools, equipment and any surplus resources and materials are cleaned, checked and securely stored in accordance with workplace procedures |
|  |  | 3.4 | De-isolations are confirmed with other person/s involved in, or affected by, the work in accordance with workplace procedures |
|  |  | 3.5 | Work completion documentation, including relevant permits, are completed accurately and provided to appropriate person/s in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG142A Conduct isolations under the permit to work system for gas industry work sites.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8