# UEGNSG202 Conduct emergency site control on gas distribution assets

Release: 1

UEGNSG202 Conduct emergency site control on gas distribution assets

# Modification History

Release 1. This is the first release of this unit of competency in the UEG - Gas Industry Training Package.

# Application

This new unit involves the skills and knowledge required to coordinate with varied stakeholders during an onsite gas emergency on gas distribution assets. Stakeholders include emergency service managers, emergency response personnel, police and fire responders, and repair crews to ensure site control and safety is maintained while effectively controlling key response activities. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Gas Distribution

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for site control of emergency on gas distribution assets | 1.1 | Workplace procedures and contingency plans for dealing with emergencies and critical incidents are identified |
|  |  | 1.2 | Emergency is evaluated and activities are identified and sequenced for the most efficient and effective outcome |
|  |  | 1.3 | Work schedule/s, drawings, plans, job requirements and material lists are obtained, analysed and confirmed |
|  |  | 1.4 | Identified repair/modification communicated is communicated to relevant stakeholders in accordance with workplace procedures |
|  |  | 1.5 | Work health and safety (WHS)/occupational health and safety (OHS), environmental and sustainable energy policies and procedures related to the work are identified to ensure safe systems of work are followed |
|  |  | 1.6 | Relevant stakeholders, public and emergency services, repair crews included in the coordination are determined and consulted as required |
|  |  | 1.7 | Key actions, events and communications are documented in a log of events |
|  |  | 1.8 | WHS/OHS hazards and risks are identified, assessed and prioritised |
| 2 | Coordinate with varied stakeholders during an onsite gas emergency | 2.1 | WHS/OHS and environmental risk control measures and policies and workplace procedures are implemented and monitored in accordance with workplace procedures |
|  |  | 2.2 | Communication with relevant stakeholders, public and emergency services, repair crews and clients are conducted and coordinated in accordance with workplace procedures |
|  |  | 2.3 | Key response activities are coordinated to ensure completion in agreed timeframe and to required industry and asset owner standards in accordance with job requirements and workplace procedures |
|  |  | 2.4 | Actions are taken to reduce the effect of the incident to minimise threats to the public, pipeline, gas distribution assets, facilities and environment in accordance with requirements, incident response strategy and workplace procedures |
|  |  | 2.5 | Incident is continually monitored and assessed for changes and responded to in accordance with incident response strategy and workplace procedures |
|  |  | 2.6 | Unplanned situations are responded to in accordance with workplace procedures in a manner that minimises risk to personnel and equipment |
|  |  | 2.7 | Coordination is done to ensure affected assets are inspected, tested and secured and quality and safety checks of work undertaken in accordance with industry standards and workplace procedures |
| 3 | Conclude site control of emergency on gas distribution assets | 3.1 | Coordination is conducted with relevant person(s) to ensure that system is recommissioned to meet industry requirements and work undertaken is checked against work schedule for conformance and anomalies reported in accordance with workplace procedures |
|  |  | 3.2 | Work completion documentation, records and reports are completed, processed and appropriate stakeholders notified |
|  |  | 3.3 | Accidents and injuries are reported as required in accordance with workplace procedures |
|  |  | 3.4 | Emergency response is evaluated with relevant stakeholders, public and emergency services, repair crews, clients, regulatory bodies and landowners in accordance with workplace procedures |
|  |  | 3.5 | Debriefing is conducted with relevant stakeholders to review incident response procedures and develop recommendations for changes to workplace procedures, as required |
|  |  | 3.6 | Accurate records and drawings are completed and submitted to reflect repairs and modifications |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG - Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This is a new unit.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8

Assessment Requirements for UEGNSG202 Conduct emergency site control on gas distribution assets

# Modification History

Release 1. This is the first release of this unit of competency in the UEG - Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate incident scenarios and include:

analysing and assessing incident information applying contingency plans applying environmental and sustainable energy principles and practices applying planning skills applying relevant legislation, standards, regulations and codes of practice applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency response procedures establish and maintain a suitable exclusion zone hazard identification and reporting implementing risk control measures maintaining a safe and clean workplace selecting and using correct personal protective equipment (PPE) working safely with hazardous materials and equipment coordinating the recommissioning of gas distribution system to operational conditions and notifying relevant stakeholders of completion of work communicating and coordinating activities with relevant stakeholders, including: asset owners, property owners and tenants emergency response organisations emergency response personnel emergency service managers police and fire responders regulatory bodies relevant customers and suppliers repair crew workplace colleagues workplace managers communicating effectively in the workplace completing procedures for managing critical incidents completing relevant workplace documentation, reports and records dealing with unplanned events and situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment evaluating, responding and reporting threats and incidents to gas distribution assets implementing incident response strategies minimising threats to the public, pipeline, assets, facilities and environment monitoring and assessing incident for changes monitoring field work operating communications equipment participating in debrief preparing and planning for coordination of repairs and modifications of gas distribution assets preparing to manage critical incidents responding correctly to alarms updating records and drawings to reflect repairs/modifications.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

communication techniques required in a supervisory role comply with environmental and cultural issues requirements contingency plans debriefs distribution operational parameters emergency and accident situations emergency management in the gas sector emergency/incident control procedures gas industry products, processes and characteristics gas industry reports and documentation general principles associated with pipelines and other gas infrastructure hazards, risk assessments and control measures identification of relevant gas industry plant, equipment and materials incident response strategies problem-solving techniques procedure for escalating emergencies relevant gas industry documents relevant legislation, standards, regulations and codes of practice, including AS 4645 - Gas distribution networks relevant manufacturer specifications relevant permits and notifications required relevant safe work method statements (SWMS), job safety assessments and risk mitigation processes relevant sections of the pipeline and associated standards and legislation, including AS 4645 - Gas distribution networks relevant stakeholders, including: asset owners, property owners and tenants emergency response organisations emergency response personnel emergency service managers police and fire responders regulatory bodies relevant customers and suppliers repair crew workplace colleagues workplace managers relevant WHS/OHS regulations, policies and procedures relevant workplace documentation relevant workplace policies and procedures safe working practices for managing emergencies and critical incidents for gas infrastructure and assets security breach procedures strategies for dealing with difficult situations.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8