# Assessment Requirements for UEGNSG206 Construct and lay copper and stainless steel gas distribution pipelines

Release: 1

Assessment Requirements for UEGNSG206 Construct and lay copper and stainless steel gas distribution pipelines

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying controls for stray, static and induced electrical faults applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements applying sustainable energy and environmental principles and practices checking tools, equipment, plant and personal protective equipment (PPE) for correct operation and safety cleaning, checking and storing tools and equipment communicating effectively with others completing required documentation and reporting complying with regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements conducting quality and safety checks constructing copper and stainless steel gas distribution pipelines dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment identifying and correctly reading plans, drawings, manuals and diagrams identifying plant and equipment and safe operating parameters/requirements maintaining a clean work area minimising waste obtaining job requirements and work instructions obtaining relevant resources, tools, equipment and materials to conduct the work referring third-party issues to supervisor reporting WHS/OHS risks, incidents, accidents and unplanned events to supervisor working in accordance with relevant work permit/notifications.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

controls for stray, static and induced electrical faults copper and stainless steel gas pipelines, including: accessories advantages and disadvantages applications characteristics fittings handling and storage material specifications pipe sizes safety data sheets (SDS) copper, stainless steel and other piping materials dangers of working with live gas effective communication techniques environmental and sustainable energy principles and practices hazards and hazardous activities in the workplace quality and safety checks regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements relevant industry and technical standards relevant materials, plans, diagrams, drawings and resources relevant materials, tools, equipment, plant, measuring devices and PPE relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant work permits and/or notifications relevant workplace documentation relevant workplace policies and procedures safety and emergency procedures site preparation, safety plans, job requirements and work schedules techniques to minimise waste.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8