# Assessment Requirements for UEGNSG227 Assist with the construction and laying of gas distribution mains

Release: 1

Assessment Requirements for UEGNSG227 Assist with the construction and laying of gas distribution mains

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying controls for stray, static and induced electrical faults applying relevant industry standards, guidelines, codes of practice and regulations applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements applying sustainable energy and environmental principles and practices assisting in cutting, joining, laying, covering and connecting gas distribution services pipelines assisting in isolating, venting, purging and testing for soundness and leaks, and commissioning and making safe gas services assisting in the construction and laying of a service to a main communicating effectively with others completing required documentation and reporting completing work and relevant documentation conducting quality and safety checks consulting supervisor to coordinate work identifying and correctly reading plans, drawings, manuals and diagrams identifying plant and equipment and safe operating parameters/requirements maintaining a clean work area minimising waste obtaining job requirements and work instructions obtaining relevant resources, tools, equipment and materials to conduct the work preparing the excavation site preparing to assist construction and laying a service to a main referring third-party issues to supervisor reporting WHS/OHS risks and incidents to supervisor reporting WHS/OHS risks, incidents, accidents and unplanned events to supervisor working in accordance with relevant work permit/notifications.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

dangers of working with live gas dangers of working near plant controls for stray, static and induced electrical faults cutting, tapping and joining pipelines and fittings, including: requirements under various conditions and inclement weather methods, procedures and safety requirements effective communication techniques environmental and sustainable energy principles and practices hazards and hazardous activities in the workplace installation of service pipelines relevant legislation, industry standards, codes of practice and regulations, including relevant industry and technical standards relevant manufacturer instructions relevant materials, plans, diagrams, drawings and resources relevant materials, tools, equipment, plant, measuring devices and personal protective equipment (PPE) relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant work permits and/or notifications relevant workplace documentation relevant workplace policies and procedures site preparation, safety plans, job requirements and work schedules techniques to minimise waste third-party issues transition fittings and adaptors to other piping materials trenching requirements for service pipelines, including: bedding materials trench width and depth required coverage depth in various locations pipeline support backfilling/compacting requirements surface reinstatement.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8