# UEGNSG301 Conduct emergency site control on gas transmission assets

Release: 1

UEGNSG301 Conduct emergency site control on gas transmission assets

# Modification History

Release 1. This is the first release of this unit of competency in the UEG - Gas Industry Training Package.

# Application

This new unit involves the skills and knowledge required to coordinate with varied stakeholders during an onsite gas emergency on gas transmission assets. Stakeholders include emergency service managers, asset owners, emergency response personnel, police and fire responders, and repair crews to ensure site control and safety is maintained while effectively controlling key response activities. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Gas Transmission

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for site control of emergency on gas transmission assets | 1.1 | Workplace procedures and contingency plans for dealing with emergencies and critical incidents are identified |
|  |  | 1.2 | Emergency is evaluated and activities are identified and sequenced for the most efficient and effective outcome |
|  |  | 1.3 | Work schedule/s, drawings, plans, job requirements and material lists are obtained, analysed and confirmed |
|  |  | 1.4 | Identified repair/modification communicated is communicated to relevant stakeholders in accordance with workplace procedures |
|  |  | 1.5 | Work health and safety (WHS)/occupational health and safety (OHS), environmental and sustainable energy policies and procedures related to the work are identified to ensure safe systems of work are followed |
|  |  | 1.6 | Relevant stakeholders, public and emergency services, repair crews included in the coordination are determined and consulted as required |
|  |  | 1.7 | Key actions, events and communications are documented in a log of events |
|  |  | 1.8 | WHS/OHS hazards and risks are identified, assessed and prioritised |
| 2 | Coordinate with varied stakeholders during an onsite gas emergency | 2.1 | WHS/OHS and environmental risk control measures and policies and workplace procedures are implemented and monitored in accordance with workplace procedures |
|  |  | 2.2 | Communication with relevant stakeholders, public and emergency services, repair crews, clients and landowners are conducted and coordinated in accordance with workplace procedures |
|  |  | 2.3 | Key response activities are coordinated to ensure completion to required industry and asset owner standards |
|  |  | 2.4 | Actions are taken to reduce the effect of the incident to minimise threats to the public, pipeline, gas transmission assets, facilities and environment in accordance with requirements, incident response strategy and workplace procedures |
|  |  | 2.5 | Incident is continually monitored and assessed for changes and responded to in accordance with incident response strategy and workplace procedures |
|  |  | 2.6 | Unplanned situations are responded to in accordance with workplace procedures in a manner that minimises risk to personnel and equipment |
|  |  | 2.7 | Coordination is done to ensure affected assets are inspected, tested and secured and quality and safety checks of work undertaken in accordance with industry standards and workplace procedures |
| 3 | Conclude site control of emergency on gas transmission assets | 3.1 | Coordination is conducted with relevant person(s) to ensure that system is recommissioned to meet industry requirements and work undertaken is checked against work schedule for conformance and anomalies reported in accordance with workplace procedures |
|  |  | 3.2 | Work completion documentation, records and reports are completed, processed and appropriate stakeholders notified |
|  |  | 3.3 | Accidents and injuries are reported as required in accordance with workplace procedures |
|  |  | 3.4 | Emergency response is evaluated with relevant stakeholders, public and emergency services, repair crews, clients, landowners and regulatory bodies in accordance with workplace procedures |
|  |  | 3.5 | Debriefing is conducted with relevant stakeholders to review incident response procedures and develop recommendations for changes to workplace procedures, as required |
|  |  | 3.6 | Accurate records and drawings are completed and submitted to reflect repairs and modifications |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG - Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This is a new unit.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8