# UEGNSG314 Liaise with third party and the community to maintain pipeline integrity and community safety

Release: 1

UEGNSG314 Liaise with third party and the community to maintain pipeline integrity and community safety

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to liaise with third parties and the community for purposes of maintaining the integrity of a transmission pipeline. It includes third-party liaison, completing relevant documentation, providing community awareness, communicating, implementing a communication strategy and applying negotiating skills. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Gas Transmission

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan to liaise with third parties and the community to maintain pipeline integrity and community safety | 1.1 | Work schedule/s, drawings, plans, job requirements materials and equipment are obtained and analysed to determine the extent of preparation required for planning |
|  |  | 1.2 | Work is prioritised and sequenced for completion within acceptable timeframes following consultation with relevant stakeholders in accordance with workplace procedures |
|  |  | 1.3 | Hazards and work health and safety (WHS)/occupational health and safety (OHS) risks are identified and prioritised and control measures implemented and monitored |
|  |  | 1.4 | Job requirements and workplace procedures for the work are obtained for all work sites and communicated to relevant person/s |
|  |  | 1.5 | WHS/OHS, environmental and sustainable energy policies and procedures are obtained to ensure safe systems of work are followed in accordance with workplace procedures |
|  |  | 1.6 | Relevant work permit/s are obtained in accordance with job and regulatory requirements and workplace procedures |
|  |  | 1.7 | Person/s, equipment, tools and personal protective equipment (PPE) required for the job are identified, scheduled, obtained and checked for correct operation and safety in accordance with workplace procedures |
|  |  | 1.8 | Clients are provided with possible solutions and options within the scope, acceptable cost and requirements |
|  |  | 1.9 | Communication issues with relevant stakeholders are resolved and work/activities coordinated in accordance with work schedule and workplace procedures |
|  |  | 1.10 | Person/s participating in the work are briefed and responsibilities coordinated and authorised in accordance with workplace procedures |
|  |  | 1.11 | System status is confirmed through communication with pipeline control centre in accordance with workplace procedures |
| 2 | Conduct third party and community liaison to maintain pipeline integrity and community safety | 2.1 | WHS/OHS risk control measures and policies and procedures are followed in accordance with workplace procedures |
|  |  | 2.2 | Analysis of information to identify key issues is undertaken and information evaluated for relevance and validity to the requirements |
|  |  | 2.3 | Hazardous activities are safely conducted in accordance with job instructions, regulatory requirements and workplace procedures |
|  |  | 2.4 | Pipeline equipment and systems are inspected and tested and faults identified in accordance with work schedule, job requirements and workplace procedures |
|  |  | 2.5 | Hazard warnings and safety signs are recognised, hazards WHS/OHS risks are assessed and reported to authorised person/s for directions in accordance with workplace procedures |
|  |  | 2.6 | Liaison and communication with relevant stakeholders is conducted to ensure pipeline integrity is maintained and job completed to industry standards with a minimum of waste in accordance with job requirements and workplace procedures |
|  |  | 2.7 | Problem-solving and troubleshooting techniques are applied to problems encountered when liaising with third parties and the community |
|  |  | 2.8 | Quality and safety checks of the work are undertaken in accordance with job requirements, workplace procedures and community and industry standards |
| 3 | Finalise third party and community liaison and complete relevant workplace documentation | 3.1 | Work undertaken is checked against work schedule for conformance and anomalies and proposed solutions reported to relevant person/s in accordance with workplace procedures |
|  |  | 3.2 | Accidents and injuries are reported and followed up in accordance with requirements and workplace procedures |
|  |  | 3.3 | Tools, equipment and any surplus resources and materials are cleaned, checked and returned to storage in accordance with workplace procedures |
|  |  | 3.4 | Relevant work permit/s are signed off accordance with job and regulatory requirements and workplace procedures |
|  |  | 3.5 | Work completion records, reports and as installed/modified drawing/s and documentation are completed, processed and the appropriate person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG314B Liaise with third party and the community to maintain pipeline integrity and community safety.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8