# Assessment Requirements for UEGNSG352 Check and report on gas station conditions

Release: 1

Assessment Requirements for UEGNSG352 Check and report on gas station conditions

# Modification History

Release 1: This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

identifying abnormal conditions of a station obtaining and interpreting relevant technical drawings and plans using relevant tools and equipment applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: working safely with hazardous materials and equipment hazard identification and reporting implementing risk control measures selecting and using correct personal protective equipment (PPE) applying relevant industry standards, guidelines, codes of practice and regulations following workplace procedures dealing with unplanned events communicating with relevant person/s authorities and stakeholders applying planning skills preparing to check and report on gas station conditions checking, testing and monitoring gas station conditions completing work and relevant records, reports and documentation applying sustainable energy and environmental principles and practices obtaining relevant work permits applying problem-solving techniques conducting quality and safety checks inspecting equipment and systems to identify faults using relevant tools, equipment and materials rehabilitating and maintaining a clean work site.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

hazardous activities, including lifting, climbing, working in confined spaces or aloft, and use of power tools relevant stakeholders, including: authorised persons, authorities, clients, plant operators, contractors and land owners gas station types and functions abnormal conditions and faults of a station relevant industry standards, guidelines, codes of practice and regulations relevant WHS/OHS legislated requirements including: hazards and risk assessment and control measures environmental and sustainable energy principles and practices hazard warnings and safety signs hazardous materials PPE gas station conditions and reporting gas industry facilities and infrastructure operation of gas industry plant, equipment and materials relevant inspection and testing procedures for applicable plant and equipment gas industry products, processes and characteristics relevant gas industry documents, drawings, diagrams and plans relevant workplace forms, reports, records and documentation problem-solving and fault-finding techniques relevant manufacturer specifications relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant workplace policies and procedures relevant work permits effective communication techniques operating conditions and performance of equipment and systems quality and safety checks.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8