# UEGNSG502 Implement emergency and critical incident response for gas infrastructure incidents

Release: 1

UEGNSG502 Implement emergency and critical incident response for gas infrastructure incidents

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to implement emergency and critical incident responses for gas infrastructure facilities and assets. It includes implementing incident responses of a critical nature that may impact on the operational effectiveness of the plant or system, endanger human life or property and/or have an adverse impact on the environment. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Control Centre Discipline

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to implement critical incident responses | 1.1 | Workplace procedures and contingency plans for dealing with emergencies and critical incidents are identified |
|  |  | 1.2 | Incident information regarding the scope and severity of the incident is obtained and recorded in accordance with workplace procedures |
|  |  | 1.3 | Work health and safety (WHS)/occupational health and safety (OHS) hazards and risks are identified in accordance with workplace procedures |
|  |  | 1.4 | System constraints are identified for work sites in accordance with workplace procedures and communicated to relevant person/s |
|  |  | 1.5 | Operational and commercial requirements are communicated to stakeholders in accordance with workplace procedures |
|  |  | 1.6 | WHS/OHS, environmental and sustainable energy policies and procedures related to the work are identified to ensure safe systems of work are followed |
| 2 | Implement incident response strategies | 2.1 | Incidents and threats are analysed, prioritised and sequenced for the most efficient and effective outcome following consultation with others for completion within acceptable timeframes in accordance with workplace procedures |
|  |  | 2.2 | Communication with authorised person/s, authorities, clients and land owners is conducted and work coordinated in accordance with workplace procedures |
|  |  | 2.3 | Work health and safety (WHS)/occupational health and safety (OHS) hazards and risks are assessed and prioritised, and control measures implemented and monitored in accordance with workplace procedures |
|  |  | 2.4 | Actions are taken to reduce the effect of the incident to minimise threats to the public, pipeline, facilities and environment in accordance with requirements, incident response strategy and workplace procedures |
| 3 | Complete procedures for implementing critical incident responses | 3.1 | Incident is continually monitored and assessed for changes and responded to in accordance with incident response strategy and workplace procedures |
|  |  | 3.2 | Work completion documentation, records and reports completed, processed and appropriate persons notified in accordance with workplace procedures |
|  |  | 3.3 | Debriefing is conducted with relevant person/s to review incident response procedures and develop recommendations for changes to workplace procedures, as required |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG513 Manage emergencies and critical incidents for gas infrastructure.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8