# Assessment Requirements for UEGNSG507 Remotely monitor and operate gas transmission flow and pressure measuring and regulating devices

Release: 1

Assessment Requirements for UEGNSG507 Remotely monitor and operate gas transmission flow and pressure measuring and regulating devices

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: workplace procedures and practices using risk control measures applying sustainable energy principles and practices completing records and reports controlling and adjusting gas supply flow remotely dealing effectively with unplanned events in accordance with workplace procedures in a manner that minimises risk to personnel and equipment monitoring remotely and operating of gas flow control and pressure measuring and regulating devices for gas pressure and flow control in gas transmission systems in accordance with relevant legislation, codes of practice, regulations and workplace procedures.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

gas conditioning and monitoring equipment, including principles of operation, fault finding, adjustments, replacement and minor repairs gas facilities/station venting, purging and pressurisation operations gas flow measurement equipment types gas pressure control equipment, including principles of operation gas transmission pipeline flow control, pressure, measuring and regulating devices gas transmission systems relevant legislation, codes of practice and regulations monitoring and operating complex flow control, measuring and regulating devices on gas transmission systems principles of control systems used in monitoring and control of applicable organisational gas infrastructure relevant manufacturer specifications, manuals and procedures relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes including safe working practices relevant WHS/OHS legislated requirements relevant workplace documentation, records and reports relevant workplace policies and procedures remote telemetry units (RTU’s) and associated controller operation.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, facilities, equipment and personal protective equipment (PPE) currently used in industry resources used should reflect current industry practices for monitoring and operating gas transmission flow and pressure measuring and regulating device remotely applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8