# UEGNSG511 Operate gas infrastructure to meet nominated demand

Release: 1

UEGNSG511 Operate gas infrastructure to meet nominated demand

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to operate gas infrastructure to meet nominated demand. It includes assessing and responding to anticipated demand of gas infrastructure, including products and services, communicating with stakeholders, and dealing with product and service issues. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

MSS402061 Use SCADA systems in operations

# Competency Field

Gas Control Centre (Gas System Operations)

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to operate gas infrastructure to meet nominated demand | 1.1 | Relevant information, job requirements and workplace procedures are obtained and analysed to assess the extent of preparation required to plan and coordinate the work |
|  |  | 1.2 | Work is prioritised and sequenced for completion within acceptable timeframes following consultation with others in accordance with workplace procedures |
|  |  | 1.3 | Hazards and work health and safety (WHS)/occupational health and safety (OHS) risks are assessed and control measures implemented and monitored in accordance with workplace procedures |
|  |  | 1.4 | Job requirements and workplace procedures for the work are obtained for all work sites and communicated to relevant person/s |
|  |  | 1.5 | Communication with relevant stakeholders is conducted and gas schedule produced based on bid and/or nomination information |
|  |  | 1.6 | Operation is carried out in accordance with workplace procedures |
|  |  | 1.7 | WHS/OHS, environmental and sustainable energy policies and procedures are obtained to ensure safe systems of work are followed |
|  |  | 1.8 | Relevant stakeholders are provided with possible solutions and options within the scope, acceptable cost and requirements |
|  |  | 1.9 | Communication issues with relevant stakeholders are resolved and work coordinated in accordance with work schedule and workplace procedures |
|  |  | 1.10 | Person/s participating in the work, including plant operators and contractors, are briefed and responsibilities coordinated and authorised, as required, in accordance with workplace procedures |
| 2 | Operate gas infrastructure to meet nominated demand | 2.1 | WHS/OHS policies and procedures and safe work practices are followed to eliminate or minimise incidents and hazards |
|  |  | 2.2 | Work is performed and coordinated in accordance with work schedule and job requirements |
|  |  | 2.3 | Work schedule is monitored and remedial actions taken to address any shortfalls encountered in accordance with requirements and workplace procedures |
|  |  | 2.4 | Gas schedule is produced in accordance with the information collected in accordance with workplace procedures |
|  |  | 2.5 | Abnormal conditions and unplanned events are recognised and responded to in accordance with workplace procedures |
|  |  | 2.6 | Problem-solving and troubleshooting techniques are applied to identified problems in accordance with job requirements and workplace procedures |
|  |  | 2.7 | Quality and safety checks are undertaken in accordance with job requirements and workplace procedures |
| 3 | Complete and review gas infrastructure work | 3.1 | Work undertaken is checked against work schedule for conformance with job requirements and anomalies reported in accordance with workplace procedures |
|  |  | 3.2 | Work completion records, reports and documentation is completed, processed and the appropriate person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG511A Operate gas infrastructure to meet nominated demand.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8

Assessment Requirements for UEGNSG511 Operate gas infrastructure to meet nominated demand

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

actioning work requests from other parties analysing process functions and problems applying relevant customer service policies and procedures applying relevant procedures for equipment use applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements applying sustainable energy and environmental principles and practices carrying out work in regular or specified timeframe communicating effectively at a supervisory level, including oral, written or electronic, completing and reviewing operation of gas infrastructure to meet nominated demand conducting quality and safety checks dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment identifying gas industry production, transmission and distribution areas locating control centres or other places where communication processes occur locating, interpreting and applying relevant information maintaining relevant workplace records operating gas infrastructure to meet nominated demand performing work under/without supervision planning to operate gas infrastructure to meet nominated demand producing gas schedule producing written requests and reports supervising transmission pipeline operations using appropriate workplace language and communication technologies and techniques using relevant computer systems using strategies for dealing with difficult situations and a variety of stakeholders, including: workplace colleagues workplace managers relevant customers and suppliers regulatory bodies property/land owners (including traditional land owners) and tenants emergency response organisations.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

application of applicable commercial agreements and contractual requirements in the gas industry coatings for corrosion protection communicating techniques excavation machinery and their effects used near pipelines gas industry production, transmission and distribution areas gas industry products, processes and characteristics gas industry reports and documentation gas industry facilities and infrastructure, including: regulation and metering facilities compression facilities gas processing facilities, such as coal seam methane plants liquified petroleum gas (LPG) processing facilities scraper stations and pigging facilities odourisation facilities reference to relevant operating policies and procedures general principles associated with pipelines and other gas infrastructure location of control centres or other places where communication processes occur pinpointing pipeline locations pipeline specifications pipeline threats, identification and control problem-solving and troubleshooting techniques relevant manufacturer specifications relevant pipeline legislation, regulatory and advisory standards and codes of practice relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant stakeholders relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8